NEAR EAST UNIVERSITY

SEARCHING FOR SUSTAINABILITY IN BUILDINGS:

The case of the Near East University Library

By

Suleiman Umar Yusuf

Submitted to the Institute of Applied Sciences in partial fulfillment of the requirements for the degree of Master of Science in Architecture

Lefkoşa 2009.

DECLARATION

I hereby declare that this thesis is my own work and effort and that it has not been submitted anywhere for any award. Where other sources of information have been used, they have been acknowledged.

Signature: ……………………………………….

Date: …………………………………………….

ABSTRACT

Considerable progress has been made during the past thirty years toward a more complete understanding of design and construction requirements for “healthy” buildings. Buildings are now being built with available technology that consume only 10% to 25% of the energy consumed in today’s average buildings while being more comfortable, healthier for their occupants, and less harmful to the environment. Awareness of environmental problems has shifted design and construction toward so-called “green” or “sustainable” building practices. “Sustainable building” is the design and construction of buildings using methods and materials that are resource efficient and that will not compromise the health of the environment or the associated health and well-being of the building’s occupants, construction workers, the general public, or future generations.

Sustainable building involves the consideration of many issues, including land use, site impacts, indoor environment, energy and water use, lifecycle impacts of building materials, and solid waste.

ACKNOWLEDGMENTS

I could not have completed this project alone. First and foremost, I would like to thank my thesis supervisor, Professor Harun Batirbaygil. His feedbacks on earlier and final drafts made for a much improved final product. Of course, I am solely responsible for any word or idea problems that remain.

I would also like to thank Kozan Uzunoglu (M.Arch) for his unrelenting help in making things move swiftly, Ariz Quraish (M.Arch) for his directions, encouragements and general help in all matters and Abubakar Aliyu for reviewing and commenting on drafts of my proposed works.

I also owe thanks to my family members and close friends for their supports especially my father that wasn’t able to see me through to the end of the masters program.

To all of my friends of whom I bounced ideas or to whom I may have whined now and then, and to everyone else who helped me along the way, thank you for your support!

DEDICATION

To the loving memory of my father who never lived to see the fruits of his advice and dedication.

To my mother, brother and sister who indirectly paid for all this.

TABLE OF CONTENTS

DECLARATION	--------------------------------------------------------------- ii

ABSTRACT	------------------------------------------------------------------------ iii

ACKNOWLEDGEMENT	------------------------------------------------------ iv

DEDICATION	--------------------------------------------------------------- v

CONTENTS 	------------------------------------------------------------------------ vi

LIST OF ABBREVIATIONS	------------------------------------------------------ ix

LIST OF FIGURES	--------------------------------------------------------------- x

LIST OF TABLES	--------------------------------------------------------------- xi

LIST OF PLATES	--------------------------------------------------------------- xii

1. INTRODUCTION

1.1	Introduction	--------------------------------------------------------------- 1

1.2	Aim of study	--------------------------------------------------------------- 2

1.3	Scope of study	--------------------------------------------------------------- 2

1.4	Research methodology ----------------------------------------------------- 2

2. LITERATURE REVIEW AND DEFINITIONS

2.1	Sustainable Development?	---------------------------------------------------- 4

2.2	Green Building	------------------------------------------------------------- 5

2.2.1	What Makes a Building Green? ------------------------------------------------- 5

2.3	Sustainable design ----------------------------------------------------------------- 6

2.3.1	Principles of Sustainable Design ------------------------------------------------- 7

2.4	Environmental Sustainability ----------------------------------------------------- 9

2.5	Sustainable Construction ---------------------------------------------------------- 9

2.6	An Overview of Sustainable Building ------------------------------------------ 10

2.6.1	Elements of Sustainable Building ----------------------------------------------- 10

2.7	Environmental Architecture	---------------------------------------------------- 21

2.8	Barriers to sustainable buildings ------------------------------------------------- 21

2.9	Benefits of Sustainable Building ------------------------------------------------- 22

3. INITIATIVES, MATERIALS AND PRODUCTS

3.1	Need for sustainable alternatives	-------------------------------------------- 25

3.2	Initiatives and developments in sustainable building technologies --------------- 25

3.2.1	Stabilized mud blocks	------------------------------------------------------------------- 26

3.2.2	Filler slab roofs	------------------------------------------------------------------- 27

3.2.3	Composite beam and panel roofs	------------------------------------------------- 28

3.2.4 	Steam cured blocks	------------------------------------------------------------------- 28

3.3	Energy in common and alternative building technologies and buildings ---------29

3.4	Impact of alternative building technologies ------------------------------------------ 30

3.5	Materials considered/selected as sustainable materials. ----------------------------- 33

3.5.1	Products that are made with salvaged, recycled or agricultural waste content. -- 33

3.5.2	Products that conserve natural resources ---------------------------------------------- 34

3.5.3	Products that avoid toxic or other emissions ----------------------------------------- 35

3.5.4	Products that reduce environmental impacts during construction, demolition, or renovation. --------------------------------------------------------------------------------- 36

3.5.5	Products that save energy or water. -----------------------------------------------------36

3.5.6	Products that contribute to a safe healthy indoor environment --------------------- 37

4.	RATING SYSTEMS

4.1	What are Rating Systems? -------------------------------------------------------------- 38

4.2	Criticisms of rating systems ------------------------------------------------------------ 39

4.3	Why use Rating Systems? --------------------------------------------------------------- 39

4.4	BOMA go green -------------------------------------------------------------------------- 40

4.5	CASBEE ----------------------------------------------------------------------------------- 41

4.6	GRIHA ------------------------------------------------------------------------------------- 42

4.7	GREEN STAR ---------------------------------------------------------------------------- 43

4.8	SBTool ------------------------------------------------------------------------------------- 44

4.9	HK BEAM -------------------------------------------------------------------------------- 45

4.10	BREEAM --------------------------------------------------------------------------------- 46

4.11	LEED. ------------------------------------------------------------------------------------- 48

4.11.1  Criticisms on the LEED rating system ------------------------------------------------ 51

4.11.2  An analysis on the ideological composition of the LEED rating system---------- 54

5.     RATING OF THE NEAR EAST LIBRARY WITH THE LEED RATING   SYSTEM

5.1   	Introduction ------------------------------------------------------------------------------- 63

5.2	Location ----------------------------------------------------------------------------------- 64

5.3	Climate. ----------------------------------------------------------------------------------- 64

5.4	Climatic Aspects of the Cypriot Buildings. ------------------------------------------ 67

5.5	Near East Library. ----------------------------------------------------------------------- 68

5.5.1	Analysis of the library ------------------------------------------------------------------ 71

5.6	Assessment of findings and results --------------------------------------------------- 75

5.6.1	 Sustainable Sites ----------------------------------------------------------------------- -76

5.6.2	 Water Efficiency -----------------------------------------------------------------------  77

5.6.3	 Energy and atmosphere --------------------------------------------------------------- 79

5.6.4	 Materials and Resources -------------------------------------------------------------- 80

5.6.5	 Indoor Environmental Air Quality --------------------------------------------------- 83

5.6.6	 Innovation and the design process --------------------------------------------------- 84

5.7	NEU Library building Performance upon LEED Criteria ------------------------- 84

5.8       Summary of findings and conclusions ----------------------------------------------- 85

6. CONCLUSION AND RECOMMENDATIONS

6.1	Recommendation ---------------------------------------------------------------------- 87

6.2	Conclusion -------- --------------------------------------------------------------------- 87

REFERENCES

ANNEXES

LIST OF ABBREVIATIONS

ASHRAE	American Society of Heating, Refrigerating and Air-Conditioning Engineers

ASTRA	Application of Science and Technology for Rural Areas

BOMA	Building Owners and Managers Association

BREEAM	BRE Environmental Assessment Method

CASBEE	Comprehensive Assessment System for Building Environmental Efficiency

CCA		Chromate Copper Arsenate

ETS		Environmental Tobacco Smoke

EPA		Environmental Protection Agency

GHG		Green House Gases

HCFC		Hydro Chlorofluorocarbons

HK-BEAM	Hong Kong Building Environmental Assessment Method

HVAC		Heating, Ventilating and Air Conditioning

IAQ		Indoor Air Quality

IEQ		Indoor Environmental Quality

IUCN		International Union for the Conservation of Nature and Natural Resources

WCED	World Commission on Environment and Development

LEED		Leadership in Energy and Environmental Design

MSDS		Material Safety Data Sheet

OECD		Organisation for Economic Co-operation and Development

PVC		Polyvinyl Chloride

SMB		Stabilized mud blocks

UNEP		United Nation Environment Programme

VOC		Volatile Organic Compound

WWFN	World Wide Fund for Nature

LIST OF FIGURES

Figure 3.1	 Productions of stabilized mud blocks using a manual press

Figure 3.2	 Ceiling of a typical filler slab roof using stabilized mud block filler

Figure 3.3	 Composite reinforced tile-work panel roof

Figure 4.1	Herman Miller HQ in Cheltenham

Figure 4.2 	Van de Kamp Bakery, at Los Angeles City College

Figure 4.3	Chart showing points distribution of the LEED rating system

Figure 4.4	Pie chart showing points available by sub items on sustainable sites

Figure 4.5	Pie chart showing available points for sub items in the water efficiency    category

Figure 4.6	Pie chart showing available points for sub items in the energy and atmosphere category

Figure 4.7	Pie chart showing available points for sub items in the materials and resources category

Figure 4.8 	Pie chart showing the available points of the sub items in the indoor environmental quality category

Figure 4.9	Pie chart showing available points for sub items in the innovations, upgrades and maintenance category

Figure 5.1	 The Near East University library under construction

Figure 5.2	 Mean monthly temperature of Cyprus

Figure 5.3	 Mean monthly precipitation in Cyprus

Figure 5.4	 Mean monthly relative humidity

LIST OF TABLES

Table 3.1	 Embodied energy in various walling and roofing systems

Table 3.2	 Total embodied energy in a building

Table 3.3	 Strategies to reduce building-related mass flows

Table 3.4	 Major determinants of indoor air quality

Table 4.1	Sustainable sites sub items points’ distribution

Table 4.2	Water efficiency sub items points’ distribution

Table 4.3	Energy and atmosphere sub items points’ distribution

Table 4.4	Materials and resources sub items points’ distribution

Table 4.5	Indoor environmental quality sub items points’ distribution

Table 4.6	Innovations and upgrades sub items points’ distribution

Table 5.1	 Sustainable sites

Table 5.2	 Water Efficiency

Table 5.3	 Energy and Atmosphere

Table 5.4	 Materials and resources.

Table 5.5	 Indoor Environmental Quality

Table 5.6	 Innovation in Operation, Upgrades and Maintenance

Table 5.7	Points scored and performance of NEU Library bldg. on main LEED criteria

LIST OF PLATES

Plate 1		 showing the library

Plate 2		 showing the library

Plate 3		 showing the tiled front of the library with no greens
Plate 4		 showing the library entrance

Plate 5		 showing the entrance to the café part of the structure

Plate 6		 showing the majestic half circle steps to the library

Plate 7		 showing the ramp and small garden

Plate 8		 showing another ramp and another garden

ANNEXES

Introduction

LEED for Existing Buildings (LEED for Existing Buildings) maximizes operational efficiency while minimizing environmental impacts. As a leading-edge, consensus-based system for certifying green building performance, operations, and maintenance, LEED for Existing Buildings provides a road map for property managers, portfolio owners, and service providers to drive down operational costs, while increasing occupant productivity in an environmentally responsible manner.

The LEED for Existing Buildings Rating System is a set of voluntary performance standards for the sustainable upgrades and operation of buildings not undergoing major renovations. It provides sustainable guidelines for building operations, periodic upgrades of building systems, minor space use changes and building processes.

LEED for Existing Buildings addresses exterior building site maintenance programs, efficient/optimized use of water and energy, purchasing of environmentally preferred products, waste stream management and ongoing indoor environmental quality (IEQ). In addition, LEED for Existing Buildings provides sustainable guidelines for whole-building cleaning/maintenance, recycling programs and systems upgrades to improve building energy, water, IEQ and materials use.

To achieve LEED certification, buildings must meet all Prerequisites in the Rating System and a minimum of 32 points. The flexibility of the Rating System allows building owners, mangers and practitioners to determine which credits to pursue based on performance goals. LEED for Existing Buildings ratings are awarded according to the following point thresholds:

􀂈 Certified 32–39 points

􀂈 Silver 40–47 points

􀂈 Gold 48–63 points

􀂈 Platinum 64–85 points

LEED for Existing Buildings, together with other LEED products, is intended to provide the existing building stock an entry point into the LEED certification process, both those new to LEED certification and buildings previously certified under LEED-NC.

Overview of LEED for Existing Buildings

LEED for Existing Buildings is a voluntary performance standard for sustainable operations and maintenance of buildings and provides guidelines for sustainable upgrade over time.

LEED for Existing Buildings provides an important opportunity for building owners to lead the way in reducing the environmental impact of buildings.

Some focal points of the rating manual includes the following:

SS Credi                          3.1 Alternative Transportation: Public Transportation Access

1 Point

Intent

Reduce pollution and land development impacts from automobile use.

Requirements

Meet the criteria of at least one of the following three options:

Option A

• The building is located within 1/2 mile of a commuter rail, light rail or subway station.

Option B

• The building is located within 1/4 mile of two or more public or campus bus lines usable by building occupants.

Option C

• Building occupants are provided with a conveyance (shuttle link) that supplies transportation between the building and public transportation meeting the criteria in Option A or Option B above.

Credit 3.2 Alternative Transportation: Bicycle Storage & Changing Rooms

1 Point

Intent

Reduce pollution and land development impacts from automobile use.

Requirements

For commercial or institutional buildings, provide secure bicycle storage with convenient changing/shower facilities (within 200 yards of the building) for regular building occupants. Maintain bike storage and shower capacity that is sufficient for the greater of 1% of the building occupants or 125% of peak demand for these facilities.

For residential buildings, provide covered storage facilities for securing bicycles for 15% or more of building occupants in lieu of changing/shower facilities. These facilities may be provided incrementally as long as the capacity of the facilities supplied exceeds the demand for these facilities.

In campus settings, if secure bicycle storage and showers are provided for all buildings occupants on a campus-wide basis, the maximum distance from individual buildings to showers requirement can be replaced with a requirement that two lines be drawn at 90 degrees to each other through the center of the campus on a campus map and that it be documented that the bicycle storage and showers requirements are met for all buildings occupants within each quadrant.

WE Credit 2 Innovative Wastewater Technologies

1 Point

Intent

Reduce generation of wastewater and potable water demand, while increasing the local aquifer recharge.

Requirements

Option A

• Reduce use of potable water for building sewage conveyance by 50%, based on water use baseline calculated for WE Prerequisite 1.

Option B

• Treat 100% of wastewater on site to tertiary standards

WE Credit 3.1 & 3.2 Water Use Reduction

1–2 Points

Intent

Maximize fixture potable water efficiency within buildings to reduce the burden on municipal water supply and wastewater systems.

Requirements

Have in place over the performance period strategies and systems that in aggregate produce a reduction of fixture potable water use from the calculated fixture water usage baseline established in WE Prerequisite 1. If the building does not have separate metering for each water use (fixture use, process use, irrigation and other uses), the water use reduction achievements can be demonstrated for WE 3.1 with calculations. At least one meter for the overall building water use is required and metering for cooling towers and other process water use encouraged but not required. To earn WE 3.2, measured fixture water use demonstrating required level of efficiency must be provided.

• WE 3.1: 10% reduction in fixture water use from the baseline. (1 point)

• WE 3.2: 20% reduction in fixture water use from the baseline. (1 point)

EA Credit 2.1–2.4 On-Site and Off-Site Renewable Energy

1–4 Points

Intent

Encourage and recognize increasing levels of on-site and off-site renewable energy in order to reduce environmental impacts associated with fossil fuel energy use.

Requirements

Over the performance period, meet some or all of the building’s total energy use through the use of on-site or off-site renewable energy systems. Points are earned according to the following table. The percentages shown in the table are the percentage of building energy use over the performance period that is met by renewable energy.

Off-site renewable energy sources are as defined by the Center for Resource Solutions (CRS) Green-e products certification requirements or the equivalent. Green power may be procured from a Green-e certified power marketer, a Green-e accredited utility program, or through Green-e certified Tradable Renewable Certificates or the equivalent. At least 25% of any off-site green power or Green Certificates used to earn this credit needs to be from new sources (sources constructed after 1997). For on-site renewable energy that is claimed for LEED for Existing Buildings credit, the associated environmental attributes must be retained or retired and cannot be sold.

Up to the four-point limit, any combination of individual actions will be awarded the sum of the points allocated to those individual actions. For example, one point would be awarded for implementing 3% of on-site renewable energy. Two additional points would be awarded for meeting 30% of the building’s energy load with renewable power or certificates over the performance period.

EA Cred                          it 3.1 Building Operations and Maintenance: Staff Education

1 Point

Intent

Support appropriate operations and maintenance of buildings and building systems so that they continue to deliver target building performance goals over the long term.

Requirements

Have in place over the performance period a building operations and maintenance staff education program that provides each staff person primarily working on building maintenance with at least 24 hours of education each year over the performance period. The education program should provide information on building and building systems operation, maintenance and achieving sustainable building performance. Training must be of high quality and relevant to building operations and maintenance

EA Credit 3.2 Building Operations and Maintenance: Building Systems Maintenance

1 Point

Intent

Support appropriate operations and maintenance of buildings and building systems so that they continue to deliver target building performance goals over the long term.

Requirements

Have in place over the performance period a comprehensive Best Practices Equipment Preventative Maintenance Program that provides in-house resources or contractual services to deliver post-warranty.

### INTRODUCTION

### 1.1 Introduction

### There can be little doubt that enormous progress has been made since the 1970s in improving the understanding of the design and construction practices that produce healthy buildings in terms of the impacts of buildings on occupant health and well-being. A broader definition of “healthy buildings,” first introduced by Hal Levin, a sustainable building advocate in 1995, included not only the impacts of buildings on their occupants but also on the larger environment. “A healthy building is one that adversely affects neither the health of its occupants nor the larger environment.”[1]

### Today there is substantial knowledge to design and construct buildings that consume between 10% and 25% of the energy used to operate the average buildings being built today. [2] A few such buildings have been built, and their energy performance has been verified. These more resource-efficient buildings can be more comfortable, more satisfying to their occupants, and more productive places of work, study, or recreation. These buildings typically provide their occupants with more control over their personal or local thermal and lighting environment than most buildings being built today and in the recent past. Some of them provide better air quality. Many of them cost less to build and to operate. They are built using materials requiring far less consumption of non-renewable resources and with far fewer apparent impacts on the natural environment. These environmental and economically improved buildings can be built using currently available technology.

### To some people in the building professions, the word “environmental” has negative connotations, because they associate it with issues like asbestos and lead abatement regulation in many countries. These remediation requirements are often seen as costly, laborious, not always necessary, or even, in some cases, more harmful than leaving the materials where they are. It is unfortunate that we have to spend time and money on removing toxic building materials and finishes that were commonly used in the past. But these sorts of mistakes are exactly what environmentally sustainable building aims to prevent. Sustainable building is about doing it right the first time, by keeping an eye to short and long-term consequences. Of course, back when asbestos and lead materials were being installed, we did not know that they were harmful. Though we have ceased to use those materials, we are now aware of many other building practices, with adverse short and long-term consequences for us and our environment that are still in common use and there might still be adverse practices which we are not aware of but which exist too.

### In this thesis, after a brief introduction in chapter one the concept, benefits, and barriers of sustainable building are discussed in chapter two. Chapter three discusses the various initiatives and developments in sustainable developments as well as materials that are environmentally friendly. Rating systems are discussed in chapter four. In chapter five, a case study is performed by analyzing the Near East University library building according to the LEED rating system. The chapter six concludes the dissertation with recommendations and summary of findings and measures that will improve the quality of the case study building.

### 1.2 Aim of study.

### This research is more of an accumulation of sustainable concepts and ideas in a bid to search out issues of sustainability in buildings. The thesis highlights and discusses various forms of sustainability as well as the materials and the various ways they are used. The sustainable methods are analyzed on a general term with major emphasis on situations that occur and are broadly acceptable. Green building rating systems are studied, discussed and a case study is done using one of the rating system on the Near East University library.

### 1.3 Scope of study

### This thesis has researched upon works and compiled various results from various professionals, organizations and rating systems on the fields of sustainability. The ideas and works researched upon has served as a kind of guide to aid in delivering the thesis idea which is on the need of sustainability in the existing buildings.

### 1.4 Research methods.

### A variety of methods to find answers to my thesis topic exists. To get a firm footing, a review of the literature that speaks to these issues (including relevant surveys) and I conducted researches on some architects and firms with sustainable building experience: Hal Levin, Peter R. Nobile, III; Pliny Fisk; and James Batchelor are some of the architects I researched upon. With input from these researches and my advisors, the thesis is a combination of all these findings.

### 2. LITERARY REVIEWS AND DEFINITIONS

### 2.1 Sustainable Development

"Sustainable development is development which meets the needs of the present without compromising the ability of future generation to meet their own needs." [3] –This definition has been formulated by the World Commission on Environment and Development (WCED), led by the Norwegian prime minister Gro Harlem Brundtland, in 1987.

The word development in this definition implicates two important aspects of the concept: It is Omni disciplinary, it cannot be limited to a number of disciplines or areas, but it is applicable to the whole world and everyone and everything on it, now and in the future. Secondly, there is no set aim, but the continuation of development is the aim of the development. The definition is based on two concepts:

- the concept of needs, comprising of the conditions for maintaining an acceptable life standard for all people, and

- the concept of limits of the capacity of the environment to fulfill  the needs of the present and the future, determined by the state of technology and social organization.

The needs according to Maslow’s hierarchy of needs consists firstly of deficiency needs which consists of psychological needs, safety needs and social needs. Secondly we have the aesthetic needs.  The limits consist of natural limitations like finite resources, but also of declining productivity caused by overexploitation of resources, declining quality of water and shrinking of biodiversity. For our common future, it would therefore be best if needs are best fulfilled while limits are not increased, but preferably decreased. This would lead to the quite simple conclusion that all political, technical and social developments can easily be evaluated in the light of sustainable development by these two arguments. Any development should help fulfill needs and should not increase limitations.

##### 2.2 Green Building

A green approach to the built environment involves a holistic approach to the design of buildings. All the resources that go into a building, be it the materials, fuels or the contribution of the users need to be considered if a sustainable architecture is to be produced. Producing green buildings involves resolving many conflicting issues and requirements. Each design decision has environmental implications. Measures for green buildings can be divided into four areas:

- Reducing energy in use

- Minimizing external pollution and environmental damage

- Reducing embodied energy and resource depletion

- Minimizing internal pollution and damage to health

2.2.1 What Makes a Building Green?

The ASHRAE Green Guide defines green design as “…one that is aware of and respects nature and the natural order of things; it is a design that minimizes the negative human impacts on the natural surroundings, materials, resources, and processes that prevail in nature.”[4] A "green" building places a high priority on health, environmental and resource conservation performance over its life-cycle. These new priorities expand and complement the classical building design concerns: economy, utility, durability, and delight. Green design emphasizes a number of new environmental, resource and occupant health concerns:

- Reduce human exposure to noxious materials.

- Conserve non-renewable energy and scarce materials.

- Minimize life-cycle ecological impact of energy and materials used.

- Use renewable energy and materials that are sustainably harvested.

- Protect and restore local air, water, soils, flora and fauna.

- Support pedestrians, bicycles, mass transit and other alternatives to fossil-fueled vehicles.

Most green buildings are high-quality buildings; they last longer, cost less to operate and maintain, and provide greater occupant satisfaction than standard developments. Sophisticated buyers and lesser prefer them, and are often willing to pay a premium for their advantages. What surprises many people unfamiliar with this design movement is that good green buildings often cost little or no more to build than conventional designs. Commitment to better performance, close teamwork throughout the design process, openness to new approaches, and information on how these are best applied are more important than a large construction budget.

2.3 Sustainable design 
Sustainable design is the thoughtful integration of incorporating architecture with the aims of  meeting the needs of the present without compromising the ability of future generations to meet their needs; Long-term maintenance of ecosystem components and functions for future generations.

Many other definitions of sustainable development have also been offered, some general and some more precise. The followings illustrate the variety of foci evident in discussions of sustainable development.

“ . . . Requires meeting the basic needs of all people and extending opportunities for economic and social advancement. Finally, the term also implies the capacity of development projects to endure organizationally and financially. A development initiative is considered sustainable if, in addition to protecting the environment and creating opportunity, it is able to carry out activities and generate its own financial resources after donor contributions have run out.” [5]

"[Improves] . . . the quality of human life while living within the carrying capacity of supporting ecosystems." [6]

"[Uses] . . . natural renewable resources in a manner that does not eliminate or degrade them or otherwise diminish their renewable usefulness for future generations while maintaining effectively constant or non-declining stocks of natural resources such as soil, groundwater, and biomass." [7]

"[Maximizes] . . . the net benefits of economic development, subject to maintaining the services and quality of natural resources." [8]

"[Is based on the premise that] . . . current decisions should not impair the prospects for maintaining or improving future living standards . . . This implies that our economic systems should be managed so that we live off the dividend of our resources, maintaining and improving the asset base." [9]

" . . . Is taken to mean a positive rate of change in the quality of life of people, based on a system that permits this positive rate of change to be maintained indefinitely." [10]

The Rocky Mountain Institute outlines five elements for sustainable design:

- Planning and design should be thorough. Sustainable design is "front loaded" compared with traditional design. Early decisions have the greatest impact on energy efficiency, passive solar design, day lighting, and natural cooling.

- Sustainable design is more of a philosophy of building than a prescriptive building style. Sustainable buildings don't have any particular look or style.

- Sustainable buildings don't have to cost more, nor are they more complicated than traditional construction.

- Integrated design, that is design where each component is considered part of a greater whole, is critical to successful sustainable design.

- Minimizing energy consumption and promoting human health should be the organizing principles of sustainable design. The other elements of design can be organized: energy saving architectural features, energy conserving building envelope, and energy-efficient and health-promoting mechanical, electrical, and plumbing systems.

2.3.1 Principles of Sustainable Design [11]

Understanding Place - Sustainable design begins with an intimate understanding of place. If we are sensitive to the nuances of place, we can inhabit without destroying it. Understanding place helps determine design practices such as solar orientation of a building on the site, preservation of the natural environment, and access to public transportation.

Connecting with Nature - Whether the design site is a building in the inner city or in a more natural setting, connecting with nature brings the designed environment back to life. Effective design helps inform us of our place within nature.

Understanding Natural Processes - In nature there is not waste. The byproduct of one organism becomes the food for another. In other words, natural systems are made of closed loops. By working with living processes, we respect the needs of all species. Engaging processes that regenerate rather than deplete, we become more alive. Making natural cycles and processes visible bring the designed environment back to life.

Understanding Environmental Impact - Sustainable design attempts to have an understanding of the environmental impact of the design by evaluating the site, the embodied energy and toxicity of the materials, and the energy efficiency of design, materials and construction techniques. Negative environmental impact can be mitigated through use of sustainably harvested building materials and finishes, materials with low toxicity in manufacturing and installation, and recycling building materials while on the job site.

Embracing Co-creative Design Processes - Sustainable designers are finding it is important to listen to every voice. Collaboration with systems consultants, engineers and other experts happens early in the design process, instead of an afterthought. Designers are also listening to the voices of local communities. Design charettes for the end user (neighborhood residents or office employers) are becoming a standard practice.

Understanding People - Sustainable design must take into consideration the wide range of cultures, races, religions and habits of the people who are going to be using and inhabiting the built environment. This requires sensitivity and empathy on the needs of the people and the community.

2.4 Environmental Sustainability

The idea of environmental sustainability is to leave the Earth in as good or better shape for future generations than we found it for ourselves.  By a definition, human activity is only environmentally sustainable when it can be performed or maintained indefinitely without depleting natural resources or degrading the natural environment.

- Resource consumption would be minimal

- Materials consumed would be made ENTIRELY of 100% post-consumer recycled materials or from renewable resources (which were harvested without harm to the environment and without depletion of the resource base)

- Recycling of waste streams would be 100%

- Energy would be conserved and energy supplies would be ENTIRELY renewable and non-polluting (solar thermal and electric, wind power, biomass, etc.)

### 2.5 Sustainable Construction

Sustainable construction is defined as "the creation and responsible management of a healthy built environment based on resource efficient and ecological principles". Sustainably designed buildings aim to lessen their impact on our environment through energy and resource efficiency. It includes the following principles:

- minimizing non-renewable resource consumption

- enhancing the natural environment

- eliminating or minimizing the use of toxins

According to an OECD[12] Project, "Sustainable building" can be defined as those buildings that have minimum adverse impacts on the built and natural environment, in terms of the buildings themselves, their immediate surroundings and the broader regional and global setting. "Sustainable building" may be defined as building practices, which strive for integral quality (including economic, social and environmental performance) in a very broad way. Thus, the rational use of natural resources and appropriate management of the building stock will contribute to saving scarce resources, reducing energy consumption (energy conservation), and improving environmental quality.

Sustainable building involves considering the entire life cycle of buildings, taking environmental quality, functional quality and future values into account. In the past, attention has been primarily focused on the size of the building stock in many countries. Quality issues have hardly played a significant role. However, in strict quantity terms, the building and housing market is now saturated in most countries, and the demand for quality is growing in importance. Accordingly, policies that contribute to the sustainability of building practices should be implemented, with recognition of the importance of existing market conditions. Both the environmental initiatives of the construction sector and the demands of users are key factors in the market. Governments will be able to give a considerable impulse to sustainable buildings by encouraging these developments. The OECD project has identified five objectives for sustainable buildings:

- Resource Efficiency

- Energy Efficiency (including Greenhouse Gas Emissions Reduction)

- Pollution Prevention (including Indoor Air Quality and Noise Abatement)

- Harmonization with Environment (including Environmental Assessment)

- Integrated and Systemic Approaches (including Environmental Management System)

2.6 AN OVERVIEW OF SUSTAINABLE BUILDING

2.6.1 Elements of Sustainable Building

To some people in the building professions, the word “environmental” has negative connotations, because they associate it with issues like asbestos and lead abatement regulation. These remediation requirements are often seen as costly, laborious, not always necessary, or even, in some cases, more harmful than leaving the materials where they are. It is unfortunate that we have to spend time and money on removing toxic building materials and finishes that were commonly used in the past. But these sorts of mistakes are exactly what environmentally sustainable building aims to prevent. Sustainable building is about doing it right the first time, by keeping an eye to short and long-term consequences. Of course, back when asbestos and lead materials were being installed, we did not know that they were harmful. Though we have ceased to use those materials, we are now aware of many other building practices, with adverse short- and long-term consequences for us and our environment, that are still in common use.

Sustainable building is often referred to as “green” or “environmentally sound” building. Some also see it as “timeless.” Others refer to some of the high-tech aspects of it as “high performance” or “smart” building. Architect William Bobenhausen thinks that it should just be called “good” building design [13]. However, I will refer to it throughout as “sustainable,” mainly because that has become the most widely accepted, catch-all term: the one you can use when doing a keyword search at the library. “Sustainable”—as used in “sustainable development”—has come to connote a balancing of the relationships between environmental, social, and economic health. The vitality of individuals, communities, and businesses is closely related to environmental conditions–indoors and outdoors. Sustainable building is based on an integrative perspective of the relationship between our natural and built environments.

SUSTAINABLE BUILDING can be broadly defined as: Building design and construction using methods and materials that are resource efficient and that will not compromise the health of the environment or the associated health and well-being of the building’s occupants, construction workers, the general public, or future generations.

This is clearly an ideal state to work towards. Building has and will always have some impacts on the land and its resources, but these impacts should be minimized as much as possible. And, at a minimum, we should demand that our shelter not be harmful to us. With a little more thought we could create indoor environments that are not just benign, but that enhance our lives: places in which we can be comfortable and healthy and of which we can be proud. After all, “productive living space is a resource for humanity, just as are energy, air, and water” [14]. Building designers have always been involved in assessing how the elements—like wind, water, and soil—will affect the integrity of building structures, and in mitigating those effects. However, they have not traditionally assessed or mitigated the flip side of that equation: how the buildings will affect the elements. Likewise, while most designers think about how the configuration of a built space will affect its users, aesthetically, they do not adequately consider how the materials that go into making a space will affect the users’ health.

Whether we are at home or work or school or stores, most of us spend the vast majority of our time within enclosed structures. Buildings create indoor sub-environments within our larger natural environment, with their own climate, light levels, and air and water flow systems. As Anne Whiston Spirn says, “Buildings are mini ecosystems” [15]. It is no wonder that the quality of those conditions has a serious effect on occupant health and well being.

Furthermore, building construction and use account for a significant portion of public health problems, and of the energy, water, mineral, and wood resources consumed in our society. (Estimates of these impacts are given later in this section, within the seven categories of sustainable building elements.) A recent study by the Union of Concerned Scientists found that home-related resource uses made up four of the seven most environmentally harmful consumer activities, contributing greatly to air pollution, water pollution, global warming, and habitat alteration. The four they identified were:

(1) Energy use for household appliances and lighting,

(2) Energy use for household heating, hot water, and air conditioning,

(3) Land and materials impacts from home construction, and

(4) Household water use and sewage generation [16].

Clearly, sustainable building includes not only interior, exterior/envelope, and site considerations, but also off-site considerations—local, regional, and global. Locally and regionally, for example, unsustainable building practices can put stresses on communities and government services, by filling up landfills, exacerbating flooding, spreading the demand for road building and utility infrastructure, etc. On a global level, building practices are affecting our climate, primarily because of our use of greenhouse gas-producing energy sources for heating, cooling, ventilation, and lighting, and our use of building materials and equipment that contain ozone layer-depleting chemicals.

Sustainable building can include a wide range of methods, materials, and systems. They could be traditional and low-tech (like adobe walls, rainwater collectors, or window shutters) or modern and high-tech (like occupancy detectors for lighting or grey water recycling systems). But, as architect William Bobenhausen has said: “It’s not the gadgets; it’s the process. It’s a way of thinking.” Architect Andrew St. John also says sustainable building is not about technology or materials, as much as it is about “attitudes and approaches.”[17] Technology can get us part of the way towards sustainability, but because in some instances it can end up doing more harm than good, it must be applied cautiously. A decision not to use certain high-tech gadgets can be as important as the decision to use others.

In other words, sustainable building has active and passive components. It involves maximizing the efficiency, health, and comfort of our indoor environments, while simultaneously minimizing the environmental and public health impacts and resource use associated with building. I think that sustainable building decisions usually fall into one of these three basic categories:

1. Materials & Equipment (specifications and application methods)

2. Active/Systems Design (mechanical, electrical, plumbing systems)

3. Passive/General Design (placement/orientation of building and rooms)

The third category relates to how the designer spatially fits the building and its design program into the natural environment so as to take advantage of existing, free benefits—such as light and heat from the sun, shading from trees, or insulation from hillside topography, to reduce land impacts and the need for non-renewable or wasteful resource use. The figure below shows a passive consideration of a building siting.

Fig 2.1 illustration of a passive design solar heating and cooling [18].

The following are some of the elements of sustainable building. This list includes the types of questions a developer, architect, engineer, or contractor/builder should ask when beginning a project. In a nutshell, sustainable building considerations range from general questions like whether to build new or to renovate and how big of a footprint a new structure will have, to the questions of where to build, how to build so as to minimize land impacts, how to protect occupants’ health and well-being, how to reduce energy and water use, how to reduce solid waste, and how to select materials that have the lowest impact on the environment and public health over their entire lifecycles (from raw materials to post-use). Clearly, not all of the issues outlined below can be addressed in every project, and some apply to new construction while others apply to renovation work. (Note: Some elements of sustainable building fit into more than one of the following seven categories; however, for simplicity’s sake, I have assigned each to the most applicable category below.)

1. General, Preliminary Considerations

Could the project be done by renovating an old building rather than building a new one?

This should help reduce the use of land, building materials, and energy resources, and would likely save money. (Of course, old buildings may not have the most efficient fixtures and systems and so might benefit from retrofitting.)

· What will the square footage of the structure be? What will its footprint be?

In the last fifty years, while family sizes have become smaller, the average house size has more than doubled from about 1,000 to over 2,000 square feet [19].

The larger the building, the more material and energy resources it uses; and in general, the larger its footprint area, the greater its impact will be on the land.

· How easy will it be to renovate the building or adapt it for reuse in the future? If the structure can be adapted easily, fewer resources will be wasted in the process and the likelihood of premature demolition is lessened. Too often, buildings are treated as disposable items.

2. Site Selection/Land Use Context

· What were the previous uses of the land? Is there any soil or water contamination on or around the site? If so, this could mean that remediation would be required to make the site safe for children to play on, for growing vegetables on, keeping pets on, putting a well on, or building on, in general. But remediating such a site would be better for the environment and the community than building on “virgin” land, away from existing infrastructure. (See the next bulleted item.) Government assistance and liability relief is often made available to ease the process of cleaning up contaminated “brown fields.”

· How close is the site to other development and existing infrastructure, like utility services, roads, and public transportation? Reducing sprawl reduces people’s need to drive and thereby reduces air pollution, preserves open space and habitat, and reduces the need for government to spend taxpayers’ money on infrastructure expansion. Suburban sprawl also saps the economic vitality of urban centers. “Smart growth” management plans, such as Portland (Oregon) Metro’s “urban growth boundary” strategy, are increasingly being developed by cities and regions, as they attempt to curtail sprawl.

· Does the site provide needed habitat for rare or endangered animal or plant species? The Union of Concerned Scientists says that “35 percent of land-based endangered species are threatened by expanding residential housing and the associated commercial development and roads” [20].

· Does any part of the site include wetlands or a floodplain? Wetlands and floodplains serve vital ecological functions as water treatment and water overflow zones. Building in these zones can endanger not only people and property on-site but also those downstream. Flooding can not only lead to a loss of life, but can impose a massive economic cost on government (and indirectly, to the public at large) for disaster relief.

· Has a comprehensive site assessment been conducted? This should help identify all of the sensitive resources mentioned in this section.

3. Site Planning/Land Impacts

· How might the development degrade the soil and water quality or supply?

How much impervious surface will cover the site? What types of landscaping will be included? How many trees will be removed from the site? Minimizing paving or using permeable paving, and preserving existing mature trees and groundcover will prevent soil erosion and runoff, which will prevent flooding and help conserve and protect groundwater.

(Minimizing paving has the added benefit of reducing the “heat island” effect around buildings and cities.) Using climate-appropriate landscaping and irrigation methods will also help conserve water.

Where on the site will the building be placed? Ideally, its location will be based on the site information listed under #2. For example, if the site is a large enough parcel that there are multiple areas one could choose to build on, the building should be sited away from any potentially contaminated areas, away from sensitive habitat areas, away from floodplains and wetlands on the site, and close to infrastructure and transit stops.

4. Occupant Health & Well-Being

• What measures have been taken to protect indoor air quality? Most of us spend at least 80% of our time indoors [21]. So it is especially concerning that approximately 30% of new and renovated buildings in the U.S. have poor indoor air quality [22]. Symptoms of “sick building syndrome” include headaches, sore throat, eye irritation, and respiratory problems [23]. Sick buildings have been ranked as one of the top five environmental threats to human health by the U.S. Environmental Protection Agency (EPA); EPA studies have found that indoor air quality is often five times, and can be up to one hundred times, worse than outdoor air [24]. Building design and materials, not just second-hand cigarette smoke, are major causes of indoor air pollution. Sick building symptoms are generally caused by fungi and bacteria that build up because of inadequate fresh air ventilation in structures that are tightly sealed or by formaldehyde or volatile organic compounds that are off-gassed from building materials; some of these air-borne particles can cause or exacerbate asthma and allergies. Also, when fresh air intakes are too close to the cooling tower drift of the building next door, microorganisms can migrate to people’s lungs, causing Legionnaire’s disease [25]. Providing adequate and proper outside air ventilation, venting fumes from copiers and other office equipment, and using materials and finishes (e.g., carpeting, upholstery, paint) and adhesives with no or low toxicity are the main ways to ensure indoor air quality. Certain indoor plants can also help absorb noxious gases [26].

It is important to remember that toxic materials can harm the trades people who must install or apply them, as well as building occupants. And the harm can be physical or mental.

If the project involves the renovation of an existing building, have lead and asbestos been tested for and abated, if necessary? Lead paint abatement is especially important (and required) in buildings where children spend a lot of time, as numerous studies have established that children are especially susceptible to neurological damage leading to IQ deficiencies and learning and behavioral problems due to lead exposure [27]. Unfortunately, low-income families are generally more exposed to toxins like this, while they are also the least able to pay for health care.

To what extent has natural day-lighting been incorporated into the design?

The line between health and well-being is somewhat fuzzy. Day lit interiors are not only more aesthetically pleasing, but they are healthier than spaces with only artificial light. In a speech, Vivian Loftness, Dean of Carnegie Mellon’s Department of Architecture, cited a study that shows that workers report 20% fewer sick building symptoms when they work near windows; and having a desk near natural light was the #1 option requested by workers in a poll [28]. A research psychiatrist has found that exposure to sunlight affects “the production of a hormone called melatonin, which may affect mood and also fertility and many other body functions” [29]. This may explain Seasonal Affective Disorder symptoms. The Rocky Mountain Institute and U.S. Department of Energy documented a sustained 6% rise in productivity (speed and accuracy of mail sorting) among workers at the Reno, Nevada Post Office after an energy-efficient day lighting retrofit was done; this performance increase turned the facility into the most efficient in the Western region, when it had been the least efficient before the retrofit [30].

· What other well-being enhancements could be made to the indoor environment? Where day lighting is not possible or appropriate, high quality, full-spectrum artificial lighting is a reasonable substitute. Enhancing occupants’ control over their thermal comfort is also beneficial; this can be achieved by providing operable windows and multiple thermostats for different areas of large buildings.

5. Energy and Water Use

• What types of energy efficiency measures could be taken? Building-related energy use represents more than 30% of the energy consumed in the U.S., including 60% of our electricity consumption [31]. Energy efficiency measures could include providing plenty of insulation; “right-sizing” the mechanical system (reducing load sizes); using energy-efficient HVAC equipment, lighting, appliances, office equipment, and glazing; and practicing “integrated building design” to optimize systems interactions by converting losses or wastes into gains or assets—through heat recovery systems and the like.

Specifying materials that are produced locally can also save on energy use by eliminating the need for long-distance transportation.

• What types of renewable/clean energy sources could be incorporated given the particular site and climate? Buildings account for at least 35% of U.S. CO2 emissions; and the manufacture of Portland cement alone accounts for up to 10% of those emissions [32]. Buildings also account for almost 50% of sulfur dioxide emissions, which cause acid rain, as well as some nitrogen oxide and carbon monoxide emissions [33]. Passive solar design could involve orienting the building, providing shading, and selecting light-colored roof surfaces so as to maximize or minimize solar gain. For example, planting trees near buildings can cut cooling needs up to 30% [34]. Solar photovoltaic, solar water heaters, biomass, and wind power are some other clean energy options, which go beyond conservation to active energy production.

• What types of water conservation measures could be taken? Buildings account for one-sixth of the world’s freshwater withdrawals [35]. Water conservation measures could include the use of water-saving appliances, toilets, and faucet fixtures, as well as grey water recycling and rainwater catchment systems. The cost to expand water supply infrastructure is becoming prohibitive, especially in arid regions, where cities have to take the politically unpopular route of diverting water from other areas of the country in order to meet their water supply demands.

6. Solid Waste

• How could the amount of materials used be minimized? A typical 1,700 SF wood-frame building requires the equivalent amount of wood as would be obtained by clear cutting one acre of forest [36]. Better (“optimum-value”) engineering can achieve equivalent structural soundness with fewer structural members; for example “advanced framing” techniques often can reduce the amount of wood needed in stick framing by 25% [37].

• Has a program been set up for the recycling and/or reuse of construction and demolition debris? In some regions of the U.S., 40% of landfill space is taken up by such debris; at least half of this waste could have been recycled [38]. With tipping fees rising exponentially in recent years because of landfill shortages, the social costs of waste are becoming more internalized, making waste reduction economically sensible.

• Has a recycling system been incorporated into the design? This could be as simple as a space for recycling bins in a kitchen or pantry, or as elaborate as a chute system for a multiple-floor building.

• Have materials been selected based on their recycled content, recyclability, maintainability, and durability? Maintainability and durability are not considered as much as recycled content issues. But low-maintenance materials do not have to be cleaned, painted, or otherwise treated as often, which can reduce the use of toxic products. And durable materials do not have to be replaced as often. For example, wood, linoleum, vinyl, or tile floors generally last far longer than carpet. (Incidentally, carpet is also worse for indoor air quality, because it provides a good environment for bacteria and mold build-up.)

7. Materials’ Lifecycle Impacts

• Have materials been selected based on analyses of their lifecycle impacts on environmental/public health? Over the course of a product’s life, cradle to grave (or, better, “cradle to cradle”)[39]—from raw materials extraction to the manufacturing process, packaging, transportation, use and post-use (or reuse)— it will have water, embodied energy, waste, and pollution impacts. Inputs and by-products should be considered, as should the type of production methods (e.g., selective timber harvesting). For example, materials and equipment that contain polyvinyl chloride (PVC) should be avoided, because their manufacturing, use, and disposal are particularly harmful to public health. Of course, labels on building materials do not usually tell us much about the ins and outs of the manufacturing process. Some of the information is made available, by law, on the products’ Materials Safety Data Sheets, which can be requested from the manufacturer. And more and more information on lifecycle impacts is being compiled and entered into databases every day. The Green Seal certification group, for example, regularly publishes reports that compare the lifecycle impacts of different products. Of course, once you become aware of the issues, you realize how much more there is to know. For example, it is generally believed that linoleum tile is environmentally preferable to vinyl flooring, because linoleum is made from natural materials, including linseed oil and pine resins. In a life-cycle analysis comparing the environmental impacts (use of fossil fuels, depletion of non-renewable materials, air pollution and waste generation) of linoleum, vinyl flooring, woolen and synthetic carpeting, researchers at Utrecht University found that linoleum had the fewest impacts [40]. However, as architect Peter Nobile points out, it is almost impossible to get complete information about a product’s implications; for example, a wary specifier still might wonder about other impacts of linoleum, such as possible water pollution from pesticides that were used to grow the linseed, and what the downstream effects of that might be, and how those compare to the impacts of other flooring materials [41].

### 2.7 Environmental Architecture

Five principles of an environmental architecture [42]:

- Healthful Interior Environment. All possible measures are to be taken to ensure that materials and building systems do not emit toxic substances and gasses into the interior atmosphere. Additional measures are to be taken to clean and revitalize interior air with filtration and plantings.

- Energy Efficiency. All possible measures are to be taken to ensure that the building's use of energy is minimal. Cooling, heating and lighting systems are to use methods and products that conserve or eliminate energy use.

- Ecologically Benign Materials. All possible measures are to be taken to use building materials and products that minimize destruction of the global environment. Wood is to be selected based on non-destructive forestry practices. Other materials and products are to be considered based on the toxic waste out put of production.

- Environmental Form. All possible measures are to be taken to relate the form and plan of the design to the site, the region and the climate. Measures are to be taken to "heal" and augment the ecology of the site. Accommodations are to be made for recycling and energy efficiency. Measures are to be taken to relate the form of building to a harmonious relationship between the inhabitants and nature.

- Good Design. All possible measures are to be taken to achieve an efficient, long lasting and elegant relationship of use areas, circulation, building form, mechanical systems and construction technology. Symbolic relationships with appropriate history, the Earth and spiritual principles are to be searched for and expressed. Finished buildings shall be well built, easy to use and beautiful.

2.8 Barriers to sustainable buildings

The barriers are understood to include, among others, an excessive emphasis on short-term economic considerations. Globalization of economies, political realities, and corporate criteria for profitability have all shifted the decision-makers’ focus toward consumption and away from preservation of ecosystem productivity and environmental values. The tendency to focus on short-term considerations is exacerbated by a limited understanding of the extent of the environmental improvements required to achieve sustainable building practices and sustainable economies in general.

In a survey conducted in 1999 by the Architectural Practice Research Project at the Catholic University of America, architects again cited the following reasons why most projects are not being designed sustainably [43]. They include some of the following which can be divided into the following headings namely primary and secondary barriers.

Primary barriers:

- Lack of interests from clients: this was found to be as a result of either lack of education or awareness about sustainable buildings and also as a result of economical and financial constraints.

- The lack of training and education in sustainable design/construction.

- The failure of service fee structures to reflect long term saving.

- The higher cost of sustainable buildings options.

Secondary barriers:

- The lack of technical understanding on the part of the subcontractors.

- The lack of technical understanding on the part of the project team members

- The lack of interest on the part of the project team members

- The lack of  “green” products suppliers in the area

2.9 Benefits of sustainable buildings.

There are a number of environmental, social, and economic benefits to be reaped from building more sustainably and with low technological means. Benefits to our shared environment include:

· Air and water quality protection

· Soil protection and flood prevention

· Solid waste reduction

· Energy and water conservation

· Climate stabilization

· Ozone layer protection

· Natural resource conservation

· Open space, habitat, and species/biodiversity protection

People benefit from environmental improvements not only for health and aesthetic reasons, but also as tax payers. For example, reducing water, energy, and materials use and siting buildings close to public transportation reduces the demand for costly expansions of infrastructure—like water treatment plants, utilities, landfills, and roads. On an even broader societal level, sustainable building can enhance the national security—by reducing countries dependence on fossil fuel imports, etc. Beyond these important benefits to society at large, sustainable building can offer benefits for designers, contractors, occupants, construction workers, developers, and owners. These benefits include:

- Improved health, comfort, and productivity/performance of occupants and construction workers; and related savings for their employers. As discussed in the previous section, improvements in a building’s air quality and day lighting can make for healthier and happier occupants.

- Market differentiation: Developers and design or construction firms have the opportunity to broaden their market niche by attracting new clients who want to hire firms with demonstrated experience in sustainable building. Sustainable building projects tend to generate very positive publicity.

- Regulatory advantages: By being early adopters, building professionals can stay ahead of the game; by making gradual, voluntary changes, they will be prepared for some new regulations, so will not suffer the burden of having to adapt suddenly. Their leadership may also serve to prevent some new regulations. Proactive professionals commonly point out that meeting current codes simply means that if the building were built any worse, it would be illegal.

- Lower construction costs, mainly through materials use reduction and savings on disposal costs because of recycling, as well by downsizing mechanical equipment and avoiding certain infrastructure extension fees. Of course, the initial expense of other sustainable building measures may outweigh these savings, if measures are not selected and balanced carefully.

- Lower operating costs, from energy and water savings. Energy efficiency investments, for example, almost always deliver a payback within one to five years: a very quick return on investment. Energy savings of up to 50% are not uncommon, according to Norman Willard of the U.S. Environmental Protection Agency [44]; in some cases, energy consumption can be cut by as much as 80% [45].These savings can make a real difference, particularly for low-income residents, who spend a greater share of their earnings on home utility costs than do people with higher incomes.

- Increased building value. It is important for owners and developers to remember that the cheapest development is not necessarily the most profitable. Putting environmentally-sensitive features into a building enhances its quality and adds value, just as putting in typical amenities does. Lower operating costs and environmental features make buildings more attractive to potential buyers. The Condé Nast Publications company says that the sustainable design of the 4 Times Square building was a major factor in its decision to make that its new headquarters. Overall, building rental rates and tenant retention have been shown to be higher in sustainable projects [46].

Day lighting is a great example of a sustainable building element that delivers environmental, social, and economic benefits. Not only can natural day lighting decrease the building’s demand for fossil fuel-derived energy for lighting and heating, but it can simultaneously lower energy costs, improve the health and well-being of occupants (thereby lowering labor costs), and, in a retail environment, can even result in higher sales [47].

While sustainable building practices often have multiple benefits, some have conflicting effects that require a balancing of the trade-offs. For example, creating a tightly-sealed structure that circulates the same air around all day (a common practice in the 1970s and ‘80s) may improve the energy efficiency of a building, but is also likely to lead to indoor air quality problems. Likewise, it is important to design day lighting carefully so that it does not create a much greater need for air conditioning, in the process of saving on heating. The benefits of ‘green’ materials can be counterbalanced by the need to transport them long distances (such as bamboo flooring from China).

3. INITIATIVES, MATERIALS AND PRODUCTS

3.1 Need for sustainable alternatives

Steel, cement, glass, aluminum, plastics, bricks, etc. are energy-intensive materials, commonly used for building construction. Generally these materials are transported over great distances. Extensive use of these materials can drain the energy resources and adversely affect the environment [48].

On the other hand, it is difficult to meet the ever-growing demand for buildings by adopting only energy efficient traditional materials (like mud, thatch, timber, etc.) and construction methods. Hence, there is a need for optimum utilization of available energy resources and raw materials to produce simple, energy efficient, environment friendly and sustainable building alternatives and techniques to satisfy the increasing demand for buildings. Some of the guiding principles in developing the sustainable alternative building technologies can be summarized as follows: Energy conservation; Minimize the use of high energy materials; Concern for environment, environment-friendly technologies; Minimize transportation and maximize the use of local materials and resources; Decentralized production and maximum use of local skills; Utilization of industrial and mine wastes for the production of building materials; Recycling of building wastes, and Use of renewable energy sources. Building technologies manufactured by meeting these principles could become sustainable and facilitate sharing the resources especially energy resources more efficiently, causing minimum damage to the environment.

3.2 Initiatives and developments in sustainable building technologies

Centre for ASTRA (Application of Science and Technology for Rural Areas) was formed in 1974 at Indian Institute of Science (IISc), Bangalore, to cater to developing technologies for sustainable development. Recently, this centre has been renamed as ‘Centre for Sustainable Technologies’. Developing environment friendly, energy efficient, simple and sustainable building technologies utilizing maximum local resources and skills, is one of the thrust areas of ASTRA’s activities. R&D and dissemination of building technologies became an interdisciplinary work, where the Department of Civil Engineering actively pursued this work since over decades of time.

Some of these building technologies are: Stabilized mud blocks, Steam cured blocks, Fine concrete blocks, Rammed earth blocks, Mud concrete blocks, Lime–Pozzolana cements, Soil-lime plaster, Composite mortars for masonry, Composite beam and panel roofs, Reinforced brickwork/tile-work roof, Ferro cement and ferroconcrete roofing systems, Unreinforced masonry vaults and domes, Ribbed slab construction, Filler slab roofs, Rammed earth foundations, Reinforced block-work lintels and precast chejjas, Solar passive cooling techniques and Containment reinforcement for earthquake-resistant masonry [49].

A large number of buildings (> 12,000) have been built using these alternative building technologies.

3.2.1 Stabilized mud blocks

These are dense solid blocks compacted using a machine with a mixture of soil, sand, stabilizer (cement/lime) and water. After 28 days curing, the stabilized mud blocks (SMB) are used for wall construction. Two block sizes (305 × 143 × 100 mm and 230 × 190 × 100 mm) have been standardized. These blocks are 2.5 to 2.8 times bigger in volume when compared with locally available conventional burnt clay bricks. Compressive strength of the block greatly depends upon the soil composition, density of the block and percentage of stabilizer (cement/lime). Sandy soils with 7% cement can yield blocks having wet compressive strength of 3–4 MPa. Higher strength for the block can be obtained by increasing the quantity of stabilizer. Major advantages of SMB are: (a) energy efficient, do not require burning, 70% energy saving when compared to burnt bricks, (b) economical, 20–40% savings in cost when compared to brick masonry, (c) plastering can be eliminated, and (d) better block finish and aesthetically pleasing appearance.

Figure 3.1 productions of stabilized mud blocks using a manual press [50].

3.2.2 Filler slab roofs

Filler slab roofs are basically solid reinforced concrete slabs with partial replacement of the concrete in the tension zone by a filler material. The filler material could be cheaper or cheaper and lighter. A number of alternative materials can be thought of: (a) brick or brick panel, (b) Mangalore tile, (c) stabilized mud block, (d) hollow concrete block, (e) hollow clay tile/block, etc. Quantity of concrete in the tension zone of the slab that can be replaced by a filler material depends upon the shape of the filler material and the thickness of the solid slab. For example in a solid concrete slab of 125 mm thickness, a filler block of 60–70 mm thickness can be easily accommodated. In a typical situation, by using a stabilized mud block, 25% of the concrete can be replaced by a material, which costs one third the cost of concrete. This means that 15–20% of the cost of concrete can be saved by this operation.

Figure 3.2 Ceiling of a typical filler slab roof using stabilized mud block filler [51].

3.2.3 Composite beam and panel roofs

This concept exploits the efficiency of beam and slab construction.

The roofing system consists of partially precast or cast-in-situ ribs/beams at certain spacing covered with panels. A typical composite reinforced tile-work panel roof is shown in Figure 3. The panels and beams are connected through shear connectors to achieve composite action. Varieties of options are available for the beams (precast reinforced concrete, rolled steel sections, trussed steel members, timber, steel, concrete composite, etc.) and panels (precast concrete, reinforced brickwork, stone slabs, hollow hourdi tile, reinforced SMB panel, etc.). The profile for the panels could be curved, folded plate or flat. Use of curved shape panels results in a composite jack-arch roof. The beam cross section can also be adjusted to minimize the material consumption. The major advantages of this type of roofing system are: (i) possibility of prefabrication and quick erection, (ii) better quality assurance due to prefabrication, (iii) savings in volume of materials and hence cost effectiveness, and (iv) possibility of using hollow panels to increase thermal comfort.

Figure 3.3 Composite reinforced tile-work panel roofs [52].

3.2.4 Steam cured blocks

A mixture of lime, industrial waste products like fly ash or expansive soils like black cotton soil and sand can be compacted into a high-density block. Lime reacts with fly ash/clay minerals forming water insoluble bonds imparting strength to the block. These reactions are slow at ambient temperatures (~ 30°C) and hence steam curing for about 10 h at 80°C can accelerate these reactions leading to high strength for the block. The process involves: (a) mixing of raw materials like lime, cement, fly ash or black cotton soil, sand and water in a mixer, (b) converting the mixture into a dense block using soil block press, (c) Stacking the blocks in a steam chamber and steam curing for 10–12 h. Blocks of any convenient size can be manufactured. Compressive strength of the block depends upon the composition of the mix, density of the block and percentage of stabilizer (cement/lime). A combination like 25% fly ash, 6% lime and 2% cement can yield blocks having wet compressive strength of > 6 MPa. This kind of strength will be sufficient to construct 3–4 storey load-bearing buildings with spans in the range of 3–4 m. Blocks of higher strength can be easily achieved by adjusting the mix proportions. It should be noted here that the block quality is much superior when compared to local burnt bricks and SMB. Advantages of using these blocks are: (i) Ideal process for a small-scale or cottage industry, (ii) utilization of industrial waste products like fly ash and problematic soils like black cotton soil and high clay soils, (iii) energy efficient and environment friendly, and (iv) higher strength for the blocks.

3.3 Energy in common and alternative building technologies and buildings

Energy consumption in buildings can take place in two ways:

  - energy capital that goes into production and transportation of building materials and assembling of the building (embodied energy), and

  - Energy for the maintenance/servicing of a building during its useful life.

The second one greatly depends on the climatic variations in a particular region. The first one is a one-time investment, which can vary over wide limits depending upon choice of building materials and techniques. Details of energy content in various types of common and alternative walling and roofing systems can be shown in a table.

Table 3.1 Embodied energy in various walling and roofing systems [53]

| Building elements | Units | Energy per unit (MJ) |
| --- | --- | --- |
| Walling systems |
| Burnt brick masonry | m3 | 2141 |
| SMB masonry | m3 | 550 |
| Steam cured masonry | m3 | 1396 |
| Roofing systems (for 3.6 m span) |
| Reinforced concrete slab | m3 | 730 |
| SMB filler slab | m3 | 590 |
| Composite panel roof | m3 | 560 |
| Ribbed slab roof | m3 | 490 |
| Brick masonry vault roof | m3 | 575 |
| SMB masonry vault roof | m3 | 418 |
| Mangalore tile roof | m3 | 227 |
| Ferroconcrete tile roof | m3 | 158 |

The table indicates that: (a) Energy content of SMB masonry and steam-cured block masonry are about one fourth and two thirds of that required for the commonly used burnt brick masonry respectively, (b) Alternative roofing systems like SMB filler slab, composite panel roof, ribbed slab roof, etc. can be used in place of conventional reinforced concrete roof saving about 20–40% of energy, and (c) Ferroconcrete tile roof consumes 30% less energy when compared to conventional Mangalore tile roof. Thus it is clear that use of alternative building technologies results in reduction of considerable amount of embodied energy in building systems.

3.4 Impact of alternative building technologies

The energy values of different components of buildings discussed earlier can be integrated into computation of total embodied energy of a building. Total embodied energy of three types of buildings using conventional and alternative building systems is given in Table 3.2 [54]. Embodied energy is computed based on the actual measurements of quantities recorded while constructing these buildings. Energy per 100 m2 of built-up area of the buildings is considered for the purposes of comparison. A multi-storied reinforced concrete framed structure building is most commonly used for building flats in urban areas. Also, it is very common to find 2–3-storeyed load-bearing brick and concrete slab roof buildings. The multi-storied building consumes highest amount of energy at 4.21 GJ per m2 of built-up area, whereas the energy consumed by the load bearing conventional 2-storeyed brickwork building is 2.92 GJ/m2 (30% less than that used by multi-storied framed structure building). Two-storied building using alternative building materials like SMB walls, SMB filler slab roof, etc. is highly energy efficient. The energy consumed by this building is 1.61 GJ/m2, which is about 40% and 55% of that consumed by multi-storied building and conventional brick wall building respectively. This clearly indicates that use of alternative building technologies results in considerable amount of reduction (~ 50%) in embodied energy, thus paving the way for efficient utilization of energy resources and simultaneously reducing GHG emissions, thereby protecting the environment. Major features/impacts of the alternative building technologies discussed in the previous sections can be highlighted as follows:

- Energy efficient, consuming less than half of the energy required for conventional building methods leading to energy conservation

- ·Techniques are simple and employ maximum local resources and skills

- Decentralized production systems and small-scale operations that generate local employment

- Reduce cost and energy involved in transportation of building products.

Table 3.2 Total embodied energy in a building [55]

| Building and specifications | Number of storey’s | Total built-up area of the building (m2) | Total embodied energy per 100 m2 of built-up area (GJ) | Equivalent amount of coal per 100 m2 (tonnes) |
| --- | --- | --- | --- | --- |
| Reinforced concrete framed structure with in filled burnt brick masonry walls | 8 | 5120 | 421 | 21 |
| Load-bearing brick masonry walls, reinforced concrete slab roof, mosaic tile floor | 2 | 149.5 | 292 | 15 |
| SMB load-bearing walls, SMB filler slab roof, terracotta tile floor finish | 2 | 160.5 | 161 | 8 |

Table 3.3 Strategies to reduce building-related mass flows

| Strategy | Instead of… |
| --- | --- |
| Re-use existing buildings | Build new buildings |
| Build smaller buildings to accommodate the same functions | Overbuild - waste space |
| Re-use building materials | Dispose of them |
| Recycle building materials that cannot be re-used | Instead of land filling or incinerating them |

Table 3.4 Major determinants of indoor air quality

| Building Characteristics | IAQ Considerations |
| --- | --- |
| Site characteristics: | Outdoor air and ground source pollutants |
| Occupant activities: | Type, schedule, location within building |
| Building environmental control: | Ventilation, thermal comfort, pollutant source control` |
| Building materials and furnishings: | Emissions, durability, maintenance and cleaning requirements. |
| Appliances and equipment: | Supplies, lubricants |
| Construction IAQ requirements: | Construction: material protection, temporary ventilation, commissioning |
| Building operational manuals: | Completeness, clarity, IAQ inventory |

3.5 Materials considered/selected as sustainable materials [56].

A material that is considered sustainable is one whose life-cycle impacts are low. A floor tile made from recycled glass might be considered green because it’s made from a waste material, something that will otherwise end up in a landfill. Thus the materials that are suitable for designs under the heading of sustainability can be divided into the following categories:

- Products that are made with salvaged recycled or agricultural waste content.

- Products that conserve natural resources

- Products that avoid toxic or other emissions

- Products that reduce environmental impacts during construction, demolition or renovation.

- Products that save energy or water.

- Products that contribute to a safe, healthy indoor environment.

3.5.1 Products that are made with salvaged, recycled or agricultural waste content:

The materials used to produce a building product and where those materials come from is important as an issue of sustainability. They can be further broken down into the following:

- Salvaged products: Whenever a product is reused instead of producing a new one from a raw material-even if those raw materials are from recycled sources-we save energy and resources.

- Products with post-consumer recycled content: In some cases products with recycled content are included with caveats regarding where they should be used .Rubber flooring made from recycled automobile tires is a good example as the caveat is that it should not be used most fully enclosed indoor spaces due to potential off gassing of harmful chemicals.

- Products with post industrial recycled content: Post industrial refers to the use of industrial by products-as distinguished from materials that have been in consumer use. Examples of post industrial recycled materials include used in building products include iron ore slag from blast furnace metal refining used in making mineral wool insulation, fly ash from the smoke stacks of coal burning power plants.

- Products made from agricultural waste materials: Some materials are derived from agricultural waste products. Most of these are made of straw-the stems left after harvesting cereal grains.

3.5.2 Products that conserve natural resources:

The materials in section help in conservation of natural resources. Examples of these include products that use less material than the standard solution for a particular function; products that are durable or low maintenance .they can be further broken down to the following categories:

- Products that reduce material use: products meeting this criterion may not be fully green or sustainable but are included because of their resource efficiency benefits that they make possible. For example pier foundations systems minimize concrete use and concrete pigments can turn concrete slabs into attractive finished floors, eliminating the need for conventional finish flooring.

- Products with exceptional durability or low maintenance requirements: These products are environmental friendly because they need to be replaced less frequently or their maintenance has very low impact. Examples include fiber-cement siding, fiber glass windows, slate shingles and vitrified clay waste pipe.

Rapidly renewable products: rapidly renewable materials are distinguished from wood by having a shorter harvest rotation; they are biodegradable and are usually produced from agricultural crops. Examples include natural linoleum, form release agents made from plant oils.

3.5.3 Products that avoid toxic or other emissions [57]:

Some building products are considered green and sustainable because they have low manufacturing impacts, are alternatives to conventional products made from chemicals considered problematic or because they facilitate a reduction in polluting emissions from building maintenance. They can be further broken down into the following categories:

- Natural or minimally processed products: products that are natural or minimally processed can be green because of low energy use and low risk of chemicals release during manufacture. These can include wood products, agricultural or non agricultural plant products and mineral products such as natural stone and slate shingles.

- Alternatives to conventional preservatives-treated wood: wood treated with CCA (chromate copper arsenate) contains the toxins arsenic and chromium, and has been eliminated from the market for most uses but it is still available for some applications. Other wood treatments, such as pentachlorophenol and creosote are considered carcinogens-cancer causing substances.

- Alternatives to ozone depleting substances: included here are categories in which the majority of products still contain or use HCFCs (hydro chlorofluorocarbons), such as certain types of foam insulations and most compression-cycle heating and air-conditioning equipments

- Alternatives to products made from PVC: most PVC products are over 40% chlorine by weight and hazardous chlorinated hydrocarbons-such as dioxins-can is generated during incineration. Many PVC products also contain certain plasticizers that may be endocrine disruptors (chemicals that mimic natural hormones and may cause reproductive or developmental problems).

- Products that reduce or eliminate pesticide treatments: periodic pesticide treatment around buildings can be a significant health and environmental hazard. The use of certain products can obviate the need for pesticide treatments and such products are therefore considered green. Examples include physical termite barriers, borate-treated building products.

- Products that reduce pollution or waste from operations: alternative wastewater disposal systems reduce groundwater pollution by decomposing organic wastes more effectively. Porous paving products and green roofing systems result in less storm water runoff and thereby reduce surface water pollution and sewage treatment plant loads.

3.5.4 Products that reduce environmental impacts during construction, demolition, or renovation.

Some building products achieve their environmental benefits by avoiding pollution or other environmental impacts during construction, renovation, or demolition. The sub categories here refer to the construction stage where the benefit is typically realized:

- Products that reduce the impact of new construction: included here are various erosion-control products, foundation products that eliminate the need for excavation and exterior stains that result in lower emissions into the atmosphere.

- Products that reduce the impacts of demolition: Fluorescents lamps and ballast recyclers and low-mercury fluorescent lamps reduce environmental impacts during demolition (as well as renovation).

- Products that reduce the impacts of renovations: modular carpet tiles minimize environmental impacts during reconfiguration of spaces (renovation).

3.5.5 Products that save energy or water.

The ongoing environmental impacts that result from energy and water used in operating a building often far outweigh the impacts concerned with its construction. There are several quite distinct subcategories:

- Building components that reduce heating and cooling loads: examples include structural insulated panels, insulated concrete forms, and auto –claved aerated concrete blocks, and high performance windows.

- Equipments that conserve energy: with energy consuming equipments such as water heaters, clothes washers and refrigerators, it is better to go with less energy consuming equipments that qualify from an energy standpoint.

- Renewable energy and fuel cell equipment: Equipment and products that enable us to use renewable energy instead of fossils fuels and conventionally generated electricity are highly beneficial from an environmental standpoint.

- Fixtures and equipments that conserve water: all toilets and most showerheads today meet federal water standards but not all of these perform satisfactorily. With faucets, special controls that help conserve water are basis for inclusion. Some other water saving products such as rain water catchment systems are also found here.

3.5.6 Products that contribute to a safe healthy indoor environment

Houses should be healthy to live in and material selection is a significant determinant of indoor environment quality. Green building products that help to ensure a healthy indoor environment can be separated into several categories:

- Products that don’t release significant pollutants into the building: included here are zero and low VOC paints, caulks and adhesives, as well as products with very low emissions, such as manufactured woods products made without formaldehyde binders.

- Products that block the introduction, production or spread of indoor contaminants: certain materials and products are green and environmental friendly because they prevent the introduction of pollutants especially biological contaminants into the homes. Duct mastic for example can block the entry of mold-laden air or insulation fibers into a duct system. Track off systems for entryways help to remove pollutants from the shoes of people entering. And true linoleum naturally controls microbial contamination through the ongoing process of linoleic acid oxidation.

- Products that remove indoor pollutants: materials or products based on this category include certain ventilation products, filters, radon mitigation equipments and other equipments that help to remove pollutants or introduce fresh air.

d) Products that warn occupants of fresh hazards in the building: in this category are carbon monoxide detectors, lead paint test kits, and other indoor air quality test kits.

e) Products that improve light quality: a growing body of evidence suggests that natural daylight is beneficial to our health and productivity. Products that help and enable us to bring daylight into a building such as tubular skylights are considered.

4.0 RATING SYSTEMS.

4.1 What are Rating Systems?

Building rating systems represent key tools to evaluate and compare green buildings. They provide systematic frameworks for specifying performance criteria, thereby enabling actors in the building industry to be more measured and accurate about the movement towards more sustainable forms of designing, constructing and operating buildings. A green building rating tool sets standards and benchmarks for green building, and enables an objective assessment to be made as to how "green" a building is. The rating system sets out a "menu" of all the green measures that can be incorporated into a building to make it green. Points are awarded to a building according to which measures have been incorporated, and, after appropriate weighting, a total score is arrived at, which determines the rating.

The key advantage of rating systems is that they are a tool that provides credible frameworks for specifying and achieving high performance buildings.

Green building rating systems in general focus on the following five categories of building design and life cycle performance:

1. Site,

2. Water,

3. Energy,

4. Materials, and

5. Indoor Environment.

For each category, a number of prerequisites and credits with specific design and performance criteria exist. Projects must meet all the prerequisites to qualify for certification. Prerequisites are critical because they do not provide any credit points towards the overall score, but must be met irrespective of meeting other credit requirements.

Each of the credit requirements may be a simple design feature, whereas others may require more detailed analysis to determine the performance level. When a building design meets or exceeds the requirements for each credit category, one or more “points” can be obtained depending on the performance levels achieved, which is counted towards determining the overall rating. Other rating systems use similar scoring strategies. Depending on the total points obtained, each rating system awards a label or certificate that recognizes the design as a green building.

4.2 Criticisms of rating systems

(a) They are not universally applicable; only being encouraged in the narrow sector of stand-alone building construction.

(b) They require constant updating. A rigorous revision schedule is necessary to maintain accuracy of the assessment, as well as maintain the potency and attraction of the certification.

(c) Many schemes do little to foster an integrated design strategy.

(d) Environmental impact projections are based on assumptions.

The amount of energy/resources consumed by building users is estimated at design stage.

Behavioral issues by occupants are largely ignored, which can greatly affect a building’s overall performance.

(e) Buildings can have many lives with different uses. The operational life of a building is typically far greater than that of its occupants; Current rating schemes usually examine only the building as it is first commissioned.

4.3 Why use Rating Systems?

Building rating systems fulfill a number of important roles. While they essentially provide a standard for what systems, materials and strategies can help make a building green, they are also key tools for using the market to increase demand for high performance buildings. They provide a means for a building owner or tenant to ask for a green building, and to compare the green-ness of their building choices.

At another level, organizations working to effect market transformation can use building rating systems as a tool for specifying minimum performance levels, and to create an industry standard that is above and beyond what is required by code. They help to increase a broader understanding of the impact buildings have on our society, and they provide a means for disseminating information on how to reduce these impacts.

For those who are charged with operationalizing the movement towards high performance buildings, building rating systems help to structure the thought process, and help to keep issues at the top of the priority list that might not have been given serious consideration otherwise.

They can serve to offer structured advice, including goals, strategies, and actions that are suitable for improving performance.

Finally, building rating systems have created a market in part by virtue of the standardized recognition they permit, thereby enabling owners, developers and professionals to gain credit, awards, and other marketing outputs.

Some of the rating systems include the following:

4.4 BOMA go green (Canada) [58]

This is the nationally adopted environmental recognition and certification program of BOMA Canada Program developed by the industry for the industry. Building Owners and Managers Association (BOMA) Go Green Environmental Certification program is a volunteer program designed solely for existing and occupied buildings. This program is industry driven, administratively simple and inexpensive. It is offered by BOMA Canada as a service to all member and non-member commercial building owners. Rather than setting specified quantifiable levels of environmental standards as with LEED, the program focuses on the development of environmental management plans, programs and policies for existing buildings. The process helps owners to assess how a building is performing and includes suggestions for reduction of energy consumption and operating costs, as well as improving waste management [59].  A voluntary program designed for existing or occupied buildings.  It is offered by BOMA Canada as a service to all member and non-member    commercial building owners. The intent is to recognize those buildings where environmental best practices have been implemented into the operations. A country-wide initiative that could have a significant impact on the industry’s approach to environmental issues. It consists of five best practice criterias. The underlying premise to the criteria development was a belief that most buildings are currently managed by professionals who have implemented, or are planning to implement, good environmental practices in their daily operations.

The criteria are considered industry best practices and are listed as ten minimum requirements identified in five key environmental areas namely resource consumption, waste reduction and recycling, building materials, interior environment and tenant awareness.

Many other best practice requirements were considered and may be added as the program evolves.

4.5 CASBEE (Japan) [60]

CASBEE was developed in Japan according to the following policies; the system should be structured to award high assessments to superior buildings, thereby enhancing incentives to designers and others. The assessment system should be as simple as possible. The system should be applicable to buildings in a wide range of applications. The system should take into consideration issues and problems peculiar to Japan and Asia. CASBEE was developed in the suite of architectural process, starting from the pre design stage and continuing through design and post design stages [61].

Pre design stage: This is the stage where the preconditions that form the background to the plan, such as the natural, social, cultural and business environment are subjected to a multi faceted, three dimensional investigations and analysis. In the process, the parties involved identify design themes and build shared concepts and policies.

Design: the concept and policies distilled in the pre design stage are examined further in the design stage to define the ecological, technical, social, cultural aesthetic and economic aspects. The design also passes through a self- evaluation process at this stage to integrate the design as best practice.

Post design: when a design has been integrated through the design stage and is put into practice, it is subjected to an overall verification followed by ongoing retrospective verification through its life cycle, to evaluate sustainability. The results of the verification are constantly reflected in improvements to the implemented design and concepts.

Potential CASBEE-certified buildings are assessed by both their environmental efficiency and their impact on the overall environment. The ranking assigns separate scores for Q (Quality: environmental quality) and L (Load: building environmental load) and ultimately gives an assessment of Building Environmental Efficiency (BEE) based on those results.

"That approach is employed because 'higher marks for improving load reduction quality’ is easier to understand than ‘higher marks for load reduction’ as an assessment system, just as ‘improvements in quality and performance earn higher marks,'" the manual says.

Each of these areas are broken down into greater detail, and ranked in order, from Excellent (S), Very Good (A), Good (B+), Fairly Poor (B-) and Poor (C), according to the CASBEE For New Construction 2008 Technical Manual.

4.6 GRIHA (India) [62]

TERI's green building rating system (TERI–GRIHA) has been developed after a thorough study and understanding of the current internationally accepted green building rating systems and the prevailing building practices in India. The primary objective of the rating system is to help design green buildings and, in turn, help evaluate the ‘greenness’ of the buildings. The rating system follows best practices along with national/international codes that are applicable to achieving the intent of green design.

The basic features. [63] 
Currently, the system has been developed to help ‘design and evaluate’ new buildings (buildings that are still at the inception stages). A building is assessed based on its predicted performance over its entire life cycle – inception through operation. The stages of the life cycle that have been identified for evaluation are the pre-construction, building design and construction, and building operation and maintenance stages. The issues that get addressed in these stages are as follows: 
- Pre-construction stage (intra- and inter-site issues) 
-Building planning and construction stages (issues of resource conservation and reduction in resource demand, resource utilization efficiency, resource recovery and reuse, and provisions for occupant health and well being). The prime resources that are considered in this section are land, water, energy, air, and green cover.
-Building operation and maintenance stage (issues of operation and maintenance of building systems and processes, monitoring and recording of consumption, and occupant health and well being, and also issues that affect the global and local environment).

TERI-GRIHA has a 100 point system consisting of some core points, which are mandatory to be met while the rest are optional points, which can be earned by complying with the commitment of the criterion for which the point is allocated. Different levels of certification (one star to five stars) are awarded based on the number of points earned. The minimum points required for certification is 50. Buildings scoring 50 to 60 points, 61 to 70 points, 71 to 80 points, and 81 to 90 points will get one star, ‘two stars’, ‘three stars’ and ‘four stars’ respectively. A building scoring 91 to 100 points will get the maximum rating viz. five stars.

| Points scored | Rating |
| --- | --- |
| 50–60 | One star |
| 61-70 | Two star |
| 71-80 | Three star |
| 81-90 | Four star |
| 91-100 | Five star |

4.7 GREEN STAR (Australia) [64]

The Green Building Council of Australia (GBCA) has developed a national environmental rating tool for buildings called the ‘Green Star’ rating system. The tool rates a building in relation to its management, the health and wellbeing of its occupants, accessibility to public transport, water use, energy consumption, the embodied energy of its materials, land use and pollution.

Green Star aims to assist the building industry in its transition to sustainable development. The Green Star environmental rating system for buildings was created for the property industry in order to:

• establish a common language;

• set a standard of measurement for green buildings;

• promote integrated, whole-building design;

• recognize environmental leadership;

• identify building life-cycle impacts; and

• raise awareness of green building benefits.

There is a suite of Green Star rating tools for commercial offices at all phases of development - design, construction, and operations. Projects are evaluated against eight environmental impact categories, plus innovation. Within each category, points are awarded for initiatives that demonstrate that a project has met the overall objectives of Green Star and the specific criteria of the relevant rating tool credits. Points are then weighted and an overall score is calculated, determining the project's Green Star rating.

Green Star rating tools use Stars to rate performance:

4 Star Green Star Certified Rating signifies 'Best Practice'

5 Star Green Star Certified Rating signifies 'Australian Excellence'

6 Star Green Star Certified Rating signifies 'World Leadership' [65]

4.8 SB Tool [66]

The SB Tool system is a rating framework or toolbox, designed to allow countries to design their own locally relevant rating systems. SBTool is designed to include consideration of regional conditions and values, in local languages, but the calibration to local conditions does not destroy the value of a common structure and terminology.

SBTool produces both relative and absolute results. The system is therefore a very useful international benchmarking tool, one that provides signals to local industry on the state of performance in the region, while also providing absolute data for international comparisons.

The system is a rating framework or toolbox and only becomes a rating tool after a third party calibrates it for their region by defining scope and setting weights, context and performance benchmarks. The system is totally modular in scope; it is set up to allow easy insertion of local criteria and/or language.

It handles all four major phases; new and renovation projects; up to three occupancy types in a single project; provides relative and absolute outputs;

SBTool can be used for certification if calibrated by a third party, or it can be used by clients with large portfolios to identify their in-house performance requirements.

The system contains three levels of parameters that nest within each other; Issues, Categories and Criteria;

Criteria are scored according to the following scale:
 -1= Deficient
  0 = Minimum acceptable performance
+3 = Good Practice
+5 = Best practice

Criteria scores are weighted; category scores are the total of weighted criteria scores; Issue scores are the total of weighted Category scores.

4.9 HK BEAM (Hong Kong) [67]

HK-BEAM, the Hong Kong Building Environmental Assessment Method, is the private sector initiative to assist developers, designers, builders and managers in designing and managing local buildings in a sustainable manner. HK-BEAM sets out over 100 “best practice environmental criteria” for a range of issues – from energy efficiency and building materials, to construction pollution and indoor environmental quality – against which building performance can be measured and environmental enhancements will be encouraged.

HK-BEAM provides building users with a single performance label that demonstrates the overall qualities of a building, be it a new or refurbished building, or one that is already in use. HK-BEAM is:

·         the leading initiative in Hong Kong to assess, improve, certify and label the performance of buildings;

·         a comprehensive standard and supporting process covering all building types, including mixed use complexes;

·         a driver for and means by which to ensure healthier, efficient, and environmentally sustainable working and living environments.

The HK-BEAM scheme is somewhat not unique in that it is basically the same as majority of other rating systems. It acknowledges the following:

·         embraces a wide range of sustainability issues;

·         covers the whole-life performance of buildings;

·         assesses new buildings only upon completion, certifying actual performance; and

·         embraces management, operation and maintenance practices to ensure a building performs at the highest level.

On a per capita basis HK-BEAM has assessed more buildings and more square meters of space than any other similar scheme in use worldwide. The take up of assessments has embraced mainly air-conditioned commercial buildings and high-rise residential buildings, the leading users of energy and other natural resources in Hong Kong. In raising awareness about the environmental impacts of buildings HK-BEAM has contributed the development of ‘Green and Sustainable buildings’ in the HKSAR.

4.10 BREEAM (United Kingdom) [68]:

BREEAM is the earliest building rating system for environmental performance assessment. This was developed by the British Research Establishment in 1990. In the past decade, BREEAM has evolved from a design checklist to a comprehensive assessment tool to be used in various stages of a building life cycle [69].

BRE Environmental Assessment Method (BREEAM) is a voluntary measurement rating for green buildings that was established in the UK by the BRE. Since its inception it has since grown in scope and geographically, being exported in various guises across the globe. Its equivalents in other regions include LEED North America and Green Star in Australia, and HQE in France [70].

The BRE assessment methods and tools are all designed to help construction professionals understand and mitigate the environmental impacts of the developments they design and build. BRE sustainability ratings—on a scale of “Pass” to “Outstanding” —enable owners or occupants to gain recognition for their building’s environmental performance. A good BRE rating facilitates planning permissions by demonstrating sustainability credentials to relevant authorities, and increases the construction’s real-estate value. BRE certification has been associated with a variety of benefits: environmental, social, and financial.

The BREEAM assessment versions look at the same broad range of environmental impacts:
· management
· health and wellbeing
· energy
· transport
· water
· material and waste
· land use and ecology
· pollution
Credits are awarded in each of the above areas according to performance. A set of environmental weightings then enables the credits to be added together to produce a single overall score. BREEAM assesses buildings against a set criterion and provides an overall score which will fall within a band providing either a Pass, Good, Very Good or Excellent rating.

The standard covers these main building types:

- Retail

- Offices

- Education

- Prisons

- Courts

- Healthcare

- Industrial

- Specialized buildings assessed under the BREEAM     bespoke method.

Lastly, we shall go into the LEED rating system, which will be used in an analysis of an existing building in a subsequent chapter.

4.11 LEED.

The Leadership in Energy and Environmental Design Green Building Rating System (LEED) [71] is a voluntary, market-based rating system for defining what elements make a building 'green' and to quantify how 'green' a building is in comparison to another building.

LEED  is based on accepted energy and environmental principles and strikes a balance between known effective practices and emerging concepts. It encourages a whole building approach over a building's life cycle that guides a collaborative and integrated design and construction process [72].

Project teams (owners, developers, architects, and contractors) use the LEED rating system as a tool to help them determine green project goals, identify green design strategies, measure and monitor progress and document success.

LEED provides a menu of green building measures in five environmental categories:

- Sustainable Sites

- Water Efficiency

- Energy and Atmosphere

- Materials and Resources

- Indoor Environmental Quality.

Innovation and Design Process is an additional category where points can be earned for exceptional building design and performance above the LEED requirements or innovative performance in green building categories not specifically addressed by LEED. Points are earned in each category. The points are performance based rather than prescriptive to encourage innovation and an integrated approach to design.

The major areas of concentration are as follows:

1. Sustainable Sites: The intent of the prerequisite and credits in this category is to encourage the reuse of existing buildings and sites, protect the land use and reduce the adverse environmental impact of new developments. The design needs to incorporate a sediment and erosion control plan as a prerequisite. Site selection could provide three credit points depending on the nature of site redevelopment or restoration.

Additional credits can be obtained for storm water management, and reducing heat islands and light pollution. Credits also are available for providing bicycle stands, alternative-fuel refueling stations and parking spaces for carpools. To obtain many of these credits, these features need to be incorporated in the design development and design drawings would be the primary documentation.

2. Water Efficiency: This category of credits is aimed at water-use reduction and use of waste water technologies. No prerequisites exist for this category. Use of high-efficiency irrigation technology, rainwater use for irrigation and use of high efficiency plumbing fixtures could provide up to five points. All plumbing fixtures should meet or exceed the performance requirements of the Energy Policy Act of 1992. Typical documentation and performance calculations involve calculating the total water demands of the facility and the level of water use reduction demonstrated by the design.

3. Energy and Atmosphere: Energy efficiency, renewable energy and ozone protection are the main goals of this category of credits. Three prerequisites and a total of 17 points can be claimed by meeting the credit requirements in this category. The prerequisites aim at implementing building commissioning, meeting minimum energy performance and using non- CFC equipment. ANSI/ASHRAE/IESNA Standard 90.1-1999,

Energy Standard for Buildings Except Low-Rise Residential Buildings, or the local energy code is used as the basis for minimum energy performance. If the design demonstrates exceeding the Standard 90.1-1999 requirements, additional credits can be obtained depending on the percentage of energy saving. Two rating points can be claimed for every 10% energy-use reduction in new building designs, up to a maximum of 10 points. Energy simulation tools are required for calculation, and these should be based on the Energy Cost Budget Method described in Section 11 of Standard 90.1-1999. If on-site renewable energy technologies are provided, up to three additional credit points can be claimed depending on the percentage of renewable energy provided toward the total building energy consumption. Credits are available for not using HCFCs, use of green power and for additional commissioning.

4. Materials and Resources: This category is aimed at reducing the life-cycle environmental impact of materials and provides credits for waste reduction, materials reuse and recycling. A prerequisite in this category requires all buildings to contain a storage area for collection and storage of recyclable materials generated by building occupants. This requirement can be incorporated during building design and documented in the building drawings. If the new building retains and reuses an already existing building shell, up to three points can be claimed. Additional points can be obtained for recycling construction waste, using recycled materials in construction and for use of local or regional materials. No specific performance calculations exist for obtaining credits in this category. A spreadsheet can document the amount of materials used, calculate the percentage of recycled content, local materials used, etc. to determine the levels to claim the credits.

5. Indoor Environmental Quality: The credit requirements in this category are aimed at reducing indoor pollutants, and improving the thermal comfort, indoor air and lighting quality. Two prerequisites in this category require that the building design meets ANSI/ASHRAE Standard 62-1999, Ventilation for Acceptable Indoor Air Quality,[73] for ventilation and provides the means for environmental tobacco smoke (ETS) control. Designers could use the ventilation rate procedure or the indoor air quality procedure to demonstrate and document compliance with Standard 62-1999. The second prerequisite can be met by designating the building as nonsmoking, or if it includes designated spaces to contain, capture and remove ETS. The use of low-emitting adhesives, sealants, paints, carpets and composite wood can provide up to four credits. The documentation for obtaining these credits requires a Material Safety Data Sheet (MSDS) for each material highlighting the volatile organic compound (VOC) limits. Additional credit points are available for installing a permanent CO2 monitoring system, individual occupant controls, increased ventilation levels, providing day lighting, and for building flush-out before occupancy. Several credits require design documentation in drawings and construction specifications.

6. Innovation and Design Process: Five points are available for innovative features and for incorporating green building categories not addressed by the LEED rating system. One point can be claimed for retaining a LEED Accredited Professional on the design team. No set standard exists for claiming the credits in this category. However, documentation of the design intent, benefits and approaches used for claiming the credit should be provided.

To achieve LEED certification, buildings must meet all Prerequisites in the Rating System and a minimum of 32 points. The flexibility of the Rating System allows building owners, mangers and practitioners to determine which credits to pursue based on performance goals. LEED for Existing Buildings ratings are awarded according to the following point thresholds:

􀂈 Certified 32–39 points

􀂈 Silver 40–47 points

􀂈 Gold 48–63 points

􀂈 Platinum 64–85 points [74]

4.11.1 Criticisms on the LEED rating system.

The implementation of LEED in property development has taken off tremendously in recent years due to increasing energy costs and awareness about the environmental problems facing our world. But there are some fears that the eco-friendly building trend may turn out to be all hype and little to no substance.

Some feel that buildings may be using LEED and other “green” buzzwords to help sell properties without any real significant benefit in terms of resource and energy efficiency.

While some post-occupant studies have shown improvements in energy and resource use in buildings, they have yet to be conducted on a very large scale, providing for weak statistics on the matter. Once a LEED certification is granted, it does not have to be renewed. If the energy use of a building does not change even after certification, should the building be allowed to call itself LEED certified? One large problem lies in the fact that post-occupancy results do not play a role in granting the certification. This may allow many individuals to market their properties as “green” without the building having any significant reduction in electricity usage.

Seth Kaplan, director of the Conservation Law Foundation's Clean Energy & Climate Change Program, raises the concern that LEED doesn't adequately address the siting of a building, which has impact on energy use, traffic, and pollution. "A building with a large parking lot that is full -- on a fundamental level, it's oxymoronic to call it a green building," he said. A conventional building located in an already developed urban area is arguably more sustainable than a high-performance building in a previously undeveloped area, he noted. The CLF's LEED-certified headquarters is located in the heart of Boston.

Some industry groups also dismiss the LEED system as burdensome and arbitrary. The National Association of Home Builders, which has rolled out its own green building guidelines, and the North American Coalition on Green Building, which represents manufacturing and trade associations, have worked to counter the influence of LEED, claiming that it lacks scientific rigor and smacks of undue regulation [75].

Some prominent architects have voiced their concerns and fears on the rating systems. “It depends on your definition of green, Truly, I would not accept anything less than gold (as proof) you’re really doing (green) things. Anything less is tinkering around the edges or tacking things on.” [76] 
The standards, especially for LEED’s two lowest certifications, don’t require builders and clients to stretch further than standard construction. “If you take any new high-quality house and run it through a LEED checklist, I guarantee it will get certified. LEED sets the bar high for platinum — that’s legit. We argue that’s where you should start. That should be the minimum. To just be certified is almost pointless [77].”

Green building rating systems are transforming the construction industry by focusing on high-performance, energy efficient, economical and environment friendly buildings. All green building rating systems are voluntary in nature, and in many cases, used as design checklists. Though energy efficiency is a major component of designing a green building, several other basic sustainability requirements need to be met before claiming the additional credits for energy efficiency.

The assessment of buildings using the rating system can be done by individuals. While LEED does not require training, there is a credit available if an accredited professional (AP) is used. The role of the AP is to help gather the evidence and advise the client. The evidence is then submitted to the US-GBC which does the assessment and issues the certificate, while BREEAM has trained assessors who assess the evidence against the credit criteria and report it to the BRE, who validate the assessment and issue the certificate.

The US-GBC also lists ten UK buildings as being registered for one of the LEED schemes. At the time of writing, the list shows that only one UK building - the Herman Miller HQ in Cheltenham as having gained a LEED rating. This building also had a BREEAM assessment carried out under the “Offices 2006” scheme, under which it was awarded an ‘excellent’ rating [78].

Fig 4.1 the Herman Miller HQ in Cheltenham [79]

A building known to have both a BREEAM and a LEED rating is the Van de Kamp Bakery, at Los Angeles City College. The bakery gained a certified LEED rating and a Good BREEAM 2005 rating.

Fig 4.2 Van de Kamp Bakery, at Los Angeles City College [80]

So it appears that BREEAM delivers a higher rating for the same building in both the US and the UK. That said, it would be more accurate to compare LEED with BREEAM 2008, as the latter now has a mandatory post-construction review (obviously on designs), something LEED has had for a while. With previous BREEAM schemes, most buildings were only assessed at a design stage.

Eszter Gulacsy, a sustainability consultant from MTT/Sustain believes LEED is simpler in its approach, while BREEAM is more academic and more rigorous. "While BREEAM is more relevant in the UK as it uses UK policies, LEED can sit alongside as part of a global corporate policy," she says.

While LEED is dominated by the American ASHRAE standards (as technical input), BREEAM takes its cue from European and UK legislation. The regional versions of both schemes flow from those antecedents [81].

LEED, however, has not been created with this level of adaptability and it is not run that way. Instead it is fixed to the ASHRAE standards (for example, credits are awarded for having enough car parking spaces, rather than minimizing them as in BREEAM).

4.11.2. An analysis on the ideological composition of the LEED rating system

The LEED rating system is chosen for the analysis of the NEU library building due to the ease at which it is accessible and easy to understand as above mentioned. The system answers a variety of questions and puts forward various insightful ideas on the directions at which sustainability should be aimed and taken towards.

Fig 4.3 Chart showing points distribution of the LEED rating system.

The above chart is produced from the points allocated for major criteria composing the LEED approach. Based on the chart, it is easy to understand the ideas behind the rating system. Sustainable ideas were zoned majorly to four categories which include:

- sustainable sites,

- materials and resources,

- energy and atmosphere and,

- Indoor environmental quality.

This does not mean the other categories are not important, but they just have lesser points to be achieved there compared to the other three major categories. This is actually the mentality of the LEED rating system as it calls into consideration basically on the factors of energy use, materials used in relation to lifespan and effect on the surrounding environment. Thus the four categories which more points achievements are actually interrelated as they make and enhance each other. To critically understand the nature of points division and the sub items concerned with the each category, each category is further analyzed to indicate and establish which factors bear more importance and credits in the categories.

1. Sustainable sites

This category has a total of seven sub items or sub categories, with a total of 14 points available. The alternative transportation sub items has the most points up for grabs thus making it on the important factor as the most dominant item to get more points in this category. It was probably so to aid in keeping the quality of the surrounding safe from the adverse effects of vehicles. The other sub items that come close in terms of points to be attained include storm water management, heat island reduction, reduced site disturbance and plan for green site and building exterior.

Table 4.1 sustainable sites sub items points’ distribution

Items					                   Points                      	imp factor

- plan for green site and building ext	           2	       	               2

- high development density bldg and area       1	        	               1

- alternative transportation	                       4	        	               4

- reduced site disturbance			2	        	               2

- storm water management		            2	        	               2

- heat island reduction			            2	        	               2

- light pollution reduction                                 1                                     1

TOTAL				          14

Fig 4.4 Pie chart showing points available by sub items on sustainable sites

2. Water efficiency

This category has three sub items with a total of five points up for attainment. The sub items are basically within the same points range except for the innovative waste water technologies having a lesser number of points from the other two sub items, probably being assumed that efficient use of water would annul wastewater effects and treatment which in fact is advocated as the case.

Table 4.2 water efficiency sub items points’ distribution

Items						Points                     Imp. Factor.

- water efficient landscaping	                 2	                        2

- innovative wastewater technologies             1	                        1

- water use reduction	                             2	                        2

TOTAL				     5

Fig 4.5 Pie chart showing available points for sub items in the water efficiency category

3. Energy and atmosphere

In this category, there are a total of six sub items with a total of 23 as the points that could be achieved in the category. The sub category of optimizing of energy performance has the highest point on the factor of importance as it’s the critical and important section of this stage as the energies used and achieved here has to be used and not wasted, also if the energy performances are optimized, the building is more sustainable that way. Measures for measuring the performance of the building, (which is to demonstrate the ongoing accountability and optimization of building energy and water consumption performance over time and add incentives for additional energy reduction) of the building is also a high sub item in the category as well as the renewable energies on or off site. The use of mechanical energy means such as mechanical ventilation equipments like cooling conditioners and heating elements in relation to the environment are the major reasons for the allocation of the points in this way.

Table 4.3 energy and atmosphere sub items points’ distribution

Items					                             Points                     Imp Factor

- Optimize Energy Performance		        10	                  10

- On-site and Off-site Renewable Energy                 4	           		      4

- Building Operations and Maintenance	         3	        	                  3

- Additional Ozone Protection			         1	        		      1

- Performance Measurement		                     4	        	                  4

- Documenting Sustainable Bldg Cost Impacts         1	        	                  1

TOTAL				                    23

Fig 4.6 Pie chart showing available points for sub items in the energy and atmosphere category

4. Materials and resources

This category has six sub items with a total of 16 points available for achievement. On the important factor table, the sub item of optimal use of alternative materials is the one with most importance in the number of points allocated to it. This is to indicate the need to study and look for materials and resources that are better and more sustainable than normally used materials. Recycling and use of sustainable cleaning products also carry weight in this category.

Table 4.4 Materials and resources sub items points’ distribution

Items					                                 Points                     Imp Factor

1.  	Construction, demolition & renovation waste mgt         2                                   2

- Optimize Use of Alternative Materials                           5	           		     5

- Optimize Use of IAQ Compliant Products	                 2	        	                 2

- Sustainable Cleaning Products and Materials                 3	        		     3

- Occupant Recycling		                                         3	        	                 3

- Additional Toxic Material Source Reduction                  1	        	                 1

TOTAL				                            16

Fig 4.7 Pie chart showing available points for sub items in the materials and resources category

5. Indoor environmental quality

This category possesses 10 sub items concerned with the general atmosphere condition of the interior of the structure. The major sub item in this category is the green cleaning sub items as it is concerned with the use of materials that have no negative effects to the users of the structure, the sub item also emphasizes on the use of hand soaps that do not contain antimicrobial agents and the use of chemical concentrates and appropriate dilution systems.

Table 4.5 indoor environmental quality sub items points’ distribution

Items					                     Points              	   imp factor

- Outside Air Delivery Monitoring		       1	                         1

- Increased Ventilation                                            1	        	             1

- Construction IAQ Management Plan	                   1	        	             1

- Documenting Productivity Impacts	                   2	                         2

- Indoor Chemical and Pollutant Source Ctrl           2	                         2

- Controllability of Systems			       2	        	             2

- Thermal Comfort                                                  2                            2

- Day lighting and Views                                         4                            4

- Contemporary IAQ Practice                                  1                            1

- Green Cleaning                                                      6                            6

TOTAL				                  22

Fig 4.8 Pie chart showing the available points of the sub items in the indoor environmental quality category

6. İnnovations ,Upgrades And Maintenance

This category has two sub items concerned with new innovations and upgrades in technology to help in the attainment of extra points to boost the credit of the building assessed. İt has a sub unit for which if the building is assessed by a LEED  acreditied profeesional, an extra point could be attained.

Table 4.6 Innovations and upgrades sub items points’ distribution

Items					              Points      imp factor

- Innovation in Operation & Upgrades        4	             4

- LEED Accredited Professional                1	             1

TOTAL				                   5

Fig 4.9 Pie chart showing available points for sub items in the innovations, upgrades and maintenance category

Assessment techniques available on “Green Buildings” should focus on all processes of creating a successful environment, namely Designing, Building & Operation of our interventions. The LEED rating system focuses on the above named categories and sub categories that are allocated with credit numbers and units. While analyzing and assessing, the earlier discussed philosophies and ideas of the previous chapters are put to use.

Some questions that are asked before picking on the system include:

- “Is every impact considered and included in the assessment system?” The answer to the question is found to be “positive”, because it considers the impact of sustainable sites, water efficiency, innovations in design and the other three general sustainability categories.

- “Do main items and the sub items correspond to, or enclose the issues, do they address the issues properly?” To this, the answer also is found to be “positive”, due to the fact that the sub items needed to attain credits covers all aspects of the category. For example in the water efficiency category, all the major items and the sub items cover the entire field entirely in a way that no aspect is excluded. Also in categories like indoor environmental quality and energy and resources, there are lots of sub items thus allowing for more attainment of points thus implying the importance of the categories. The assignments of credits is one area that depends on a great amount of insightful ratings where it minimizes reliance on prescriptive indicators (rather than performance indicators) e.g. “Proximity to public transport” used as a proxy for increased mass transit usage, reduced car travel and subsequent reduced energy consumption, pollution and traffic congestion.

There are also some areas where credits attainability is unobtainable due to lack of application in the building, for example (e.g.) a structure without carpeting is unable to achieve LEED Credit 4 –Low Emitting Materials.

Also the sub items are found to be sufficiently detailed in all categories clearly to make sure the assessment is as far precise in achieving the intended goals. The words involved in the issues are also found to be easy to interpret and understand without calling on words that create problems due to different meanings.

After an assessment has been done, the priorities of the owner and designer of the building could be calculated as the category that is shown more emphasis will be known.

Another criticism on the rating system may be as follows: The whole rating system seems to be more concerned about the effects of the building on the environment and not really interested in the effects of the environment on the building. It needs to allow variations in areas of differing geographic and climatic conditions. The system has to be customized, redesigned or altered according to special social, economic and environmental conditions.

5. Rating of the Near East library with the LEED rating system

5.1. Introduction

This chapter intends to rate the Near East University school library using the LEED rating system for existing buildings. The rating and award of points is done purely on an observational and analytical process. LEED for Existing Buildings addresses exterior building site maintenance programs, efficient/optimized use of water and energy, purchasing of environmentally preferred products, waste stream management and ongoing indoor environmental quality (IEQ). In addition, LEED for Existing Buildings provides sustainable guidelines for whole-building cleaning/maintenance, recycling programs and systems upgrades to improve building energy, water, IEQ and materials use. The rating done in this chapter is not an official rating but just an overview of major aspects that will show and give and idea of how “green” the school library is.

The reason for the use of the LEED rating system was strictly because it has more categories of rating systems such as the rating system of existing buildings. Also the availability of guidelines and principles on the award of points are more straightforward and easy to interpret unlike the BRE rating system that requires specially trained professionals to carry out the analysis.

The itemization of the categories in the LEED rating system is based on the general six categories of the LEED rating system with sub categories or credits in each of the categories.

Also the points are merited based on the prerequisites that are noted in each category. For example in the indoor environmental quality category, the prerequisites are two - minimum indoor air quality (IAQ) performance and environmental tobacco smoke control. Based on these factors the awarding of points and credits can be achieved by the following of the principles of the rating system manual.

It is also pertinent to remember that the rating done is strictly as a result of my own views and understanding of sustainability and the rating system.

Figure 5.1 the Near East University library under construction [82].

5.2 Location

Cyprus is the third largest island in the Mediterranean that is located on the 35 degree North meridian. It is 65km away from turkey, 95km from Syria, 350km from Egypt and 750km from Greece. Mainly there are two rows of mountains on the island. Besparmak (Turkish meaning “five fingers”) mountains are situated on the northern part along the coast. They extend in 150km distance from Girne to Karpaz. The other range of mountains, known as Trodos, is located at the south part between Guzelyurt and Magusa. They extend in 120km distance from east to west [83].

5.3 Climate [84].

Cyprus is the hottest, driest island in the Mediterranean. It enjoys more sunshine than any other Mediterranean region - typically 340 days of sunshine a year. The rainy season is from November to March, with most of the rain falling between December and February. The spring season is mild. During April the spring flowers are at their best, by May they are starting to go over. Early May can be windy, by the middle of May the temperature is starting to shoot up. During July and August the temperature can be well above 30 degrees centigrade. Autumn extends well into November [85].

- Temperature: Summer temperatures are high in the lowlands, even near the Mediterranean Sea, and reach the highest readings in the Mesaoria. The mean daily temperature in July and August is about 29°C on the central plain, able to culminate at the average maximum of 38°C in these months. A mean January temperature is 10°C on the central plain and 5°C on the higher parts of the Kyrenia Mountains.

- Rainfall: The higher mountain areas are moister than the rest of the island. The Kyrenia range produces 550 millimeters of rainfall along its ridge at an elevation of 1,000 meters. Plains along the northern coast and in the Karpass Peninsula area average at 400-450 millimeters of annual rainfall. The least rainfall occurs in the Mesaoria, with 300-400 millimeters a year.

- Humidity: Relative humidity of the air is between 60% and 80% in winter and between 40% and 60% in summer with even lower values during midday. Fog is infrequent and visibility is usually good.

- Winds: Winds are generally light to moderate and variable in direction. Strong winds may occur sometimes, but gales are rare and are mainly confined to exposed coastal areas as well as areas at high elevation.

- Sunshine: The Island enjoys over 300 days of sunshine: almost 6 hours per day in winter and up to 12 hours per day in summer. Sunshine is abundant particularly from April to September. On the Mesaoria in the eastern lowland, for example, there is bright sunshine 75% of the time.

Figure 5.2 mean monthly temperature of Cyprus [86]

Figure 5.3 mean monthly precipitation in Cyprus [87]

Figure 5.4 mean monthly relative humidity [88]

The climate of Cyprus cannot be classified as being of a definite climatic zone. Ozdeniz et al. and Saymanlier describe the climate of Cyprus in terms of architectural design as Hot-Humid and composite. By having hot dry summers and rainy winter times Nicosia reflects the properties of the composite climate. Kyrenia generally has the characteristics of the hot-Humid climate because of its geographic location. Winters in Nicosia, lasting from December to February, are short and mild with short-term rains. Nicosia has the least rainfall in the entire island, with only 300 and 400 mm annually.

5.4 Climatic Aspects of the Cypriot Buildings [89].

In the case of vernacular Cypriot settlements, the response to heat has resulted in similar regional solutions to the problems of living in climatically difficult environments. Houses in towns and villages were grouped close together to shade each other from the midday sun. The ratio of building height to street width creates a protected space (especially in the hot summer months), making walking comfortable and allowing the residents, especially the women, to sit in the street. In vernacular Cypriot houses, there are a rich variety of open and semi-open spaces, such as open-to-sky courtyards, verandas at the front and sundurmas at the back, all with access to greenery. In a courtyard, avlu in Turkish, and havli in local Cypriot Turkish, compared to other kinds of open terrain, the sense of enclosure and small scale is easily manipulated, and given a mixture of hard and soft treatments.

The well-defined, open-to-sky courtyards of the houses formed climatically comfortable spaces for the dwellers, and included diverse functions such as social gathering and entertainment for the afternoons and evenings, food preparation and domestic works during spring and summer days, drying laundry, etc. During the hot summer months, the courtyard traps the dense, cool air in the center of the house, helping air circulation and bringing down the general temperature inside. With its trees, flowers and small vegetable plot, the avlu is the closest relation the house has to nature; and thus it also provides the inhabitant with direct access to nature. However, a centrally located courtyard may not be appropriate for the houses in a hot–humid climate, due to the need for stronger cross-ventilation. Thus, satisfying the climatic needs, these spaces were efficiently used as ‘outdoor rooms’ for varied purposes. As the climate is appropriate, the upper terraces of the houses were used for drying food and airing clothes as well.

5.5 Near East University Library

5.5.1 Analysis of the library

- Site location and building characteristics

The Near East University library is located in the city of Nicosia in the Near East University. In the school vicinity, it is located in the north east area and situated quite close to an entrance of the school. The library was sited in an area that is partially densely populated and close to the lecture rooms and departments of the school. The library was not sited in an area that is centrally placed for all the departments of the university as the medical and engineering students have their departments far from the library. Position of the land chosen and integrating the library building with existing facilities of the university are the main factors affecting the design. The integration in this context means providing axes facilitating smooth pedestrian flow between the Faculties. Therefore it was decided to stretch the building on north- south directions [90].

Plate 1 showing the library

Plate 2 showing the library

A spacious forecourt is introduced to the scheme to provide visual connectivity versus keeping library activities away from free time activities of the students’. This open space also gives possibility for various cultural activities taking place in the university, though it was done contrary to the original design of the library. Also the open space has no landscaping to balance out the building. The design is a building stretching from north to south, avoiding the adverse effects of the southerly sun. Openings on the longer west elevation are kept at a minimum to avoid disturbance from the westerly sun. Direct sunlight was mostly avoided, but still enabling a consistent daylight inside the spaces. On the other hand, a controlled amount of sunlight is permitted in spaces like foyers and hallways.  Curtain walls with tempered glass glazing are used for the openings on the façades. Libraries need to be built flexibly, in order to make room for expansions in size and in wiring capabilities. Though the Near East university library can only be expanded in one direction only and even that looks unfeasible due to the orientation of the building.

Plate 3 showing the tiled front of the library with no greens

Plate 4 showing the library entrance

The building is designed to ventilate and cool by natural means, supported by mechanical systems in order to obtain a better performance in heating ventilating and air conditioning on especially crowded and/or extreme climate conditions.

Although being dubbed as a library, the building has two main functions: library and auditoriums for lectures and activities alike. Therefore a central hall provides both main entrance and distribution center for accessing to both functions. This two storey hall with gallery space comprises a majestic half circle stair leading to the premises.

Plate 5 showing the entrance to the café part of the structure

Plate 6 showing the majestic half circle steps to the library

This main entrance hall is also used as an open cafeteria with the capacity of housing 6oo people. To the south is library, and to the north are auditorium and lecture halls being clustered. A special care is taken for the disabled. Accessibility is provided by lifts in the library, while ramps are utilized to reach amphitheatre and conference room. Within the spaces, accessibility is also provided by ramps.

Plate 7 showing the ramp and small garden

Plate 8 showing another ramp and another garden

### Water conservation

There are many different ways for buildings to conserve water. A number of them rely on proper site selection. If a site is selected properly strategies can be used to capture rainwater runoff to be used in irrigation. This is the case with the university library which is sited in an area that is lower than the surrounding thus allowing for the capture of rainwater.

- Structural and statistical aspects

Geological research and survey  has been done to find the character and bearing capacity of the soil before and during design stage, and was found to be weak, therefore raft foundation  was found appropriate for the proposed building. All statistical and reinforced concrete calculations has been done by computerized programs in accordance with existing contemporary codes and standards, especially to earthquake code, taking into view that the country is in earthquake zones.

  - Assessment of findings and results.

Table 5.1 Sustainable sites.

| Credit number | Area of rating | Available credits | Credit gotten |
| --- | --- | --- | --- |
| 1 | Plan for Green Site and Building Exterior Management | 2 | 1 |
| 2 | High Development Density Building and Area | 1 | - |
| 3.1 | Alternative Transportation: Public Transportation Access | 1 | 1 |
| 3.2 | Alternative Transportation: Bicycle Storage & Changing Rooms | 1 | - |
| 3.3 | Alternative Transportation: Alternative Fuel Vehicles | 1 | - |
| 3.4 | Alternative Transportation: Car Pooling & Telecommuting | 1 | 1 |
| 4 | Reduced Site Disturbance: Protect or Restore Open Space | 2 | - |
| 5 | Storm water Management: Rate and Quantity Reduction | 2 | 1 |
| 6.1 | Heat Island Reduction: Non-Roof | 1 | - |
| 6.2 | Heat Island Reduction: Roof | 1 | 1 |
| 7 | Light Pollution Reduction | 1 | 1 |

Analysis

- Credit 1 Plan for Green Site and Building  Management: out of the two points in this category, it was assigned one point due to the fact that the library surrounding failed to meet some requirements like the availability of greens in the surrounding especially the front of the building.

- Credit 2 High Development Density Building and Area: failed to receive any point here because it did not reach the per density ratio required for the point in the LEED manual.

- Credit 3.1 Alternative Transportation: Public Transportation Access: received a point which is the maximum here because the building is located within ¼ mile between two campus bus lines used by the building occupants.

- Credit 3.2 Alternative Transportation: Bicycle Storage & Changing Rooms: failed to receive any point here due to the lack of bicycle storage areas and changing rooms. The LEED manual clearly states that the credits are necessary for commercial and institutional buildings.

- Credit 3.3 Alternative Transportation: Alternative Fuel Vehicles; this category failed to have any point also because it generally is concerned with hybrid vehicles and parking spaces for them. The library has no distinction or categorization of its parking spaces.

- Credit 3.4 Alternative Transportation: Car Pooling & Telecommuting; points achieved here because of the closeness of the library to the bus stops of the school thus allowing for alternative transportation.

- Credit 4 Reduced Site Disturbance: Protect or Restore Open Space; the major intent of this category was to conserve existing natural areas and restore damaged areas to provide habitat and promote biodiversity, but there is a lack of natural areas especially in the front of the library.

- Credit 5 Storm water Management: Rate and Quantity Reduction; one point out of two achieved here.

- Credit 6.1 Heat Island Reduction: Non-Roof; failed to receive any points here due to the lack of heat reduction to minimize impacts on humans, wildlife e.t.c

- Credit 6.2 Heat Island Reduction: Roof; points achieved in this category.

- Credit 7 Light Pollution Reduction; this category is concerned with the use of the lighting facilities of the library and the library excels in this category.

5.6.1 Sustainable Sites (6 out of 14 points)

Eight credits unachievable due to external constraints. Some possible areas for improvement is the provision of low emission vehicle fleet parking spaces for building users or creating of parking spaces for alternative transportation and restoration of open spaces with greens. A sustainable site links natural and built systems to achieve balanced environmental, social and economic outcomes and improves quality of life and the long-term health of communities and the environment. Site is not sustainable due to the fact that library exterior has very little or no natural environment despite having a large expanse of space at the front. The surrounding should have more landscaping features with greens. Vegetation helps reduce the amount of carbon dioxide, a greenhouse gas, in the atmosphere by capturing and storing it for use in producing roots, leaves and bark. Also the original landscaping plans were discarded and the entire space in front of the library is tiled. Also the orientation of the building was done on to maximize the use of day lighting in the library which is good but the absence of shading devices and greens around the library entrance makes for harsh conditions to users on exiting or entering of the structure.

Table 5.2 Water Efficiency

| Credit number | Area of rating | Available credits | Credit gotten |
| --- | --- | --- | --- |
| 1 | Water Efficient Landscaping: Reduce Water Use | 2 | 2 |
| 2 | Innovative Wastewater Technologies | 1 | 1 |
| 3 | Water Use Reduction | 2 | 2 |

Analysis

- Credit 1 Water Efficient Landscaping: Reduce Water Use; the library excelled in this category.

- Credit 2 Innovative Wastewater Technologies; use of innovative water technologies was a factor in receiving perfect scores in this category.

- Credit 3 Water Use Reduction achieved maximum points as the library does not rely totally on municipal water and it is metered.

5.6.2 Water Efficiency (4 out of 5 points)

Near perfect score achieved here as it is a clearly targeted design objective. The lavatories are fitted with proximity sensors. Water free urinals are used to preserve   water.  Rainwater is neatly directed, channeled and it could be utilized if properly stored. But more could be done; the water devices could be regulated to have flow rates of not more than one gallon per minute and also the hot water pipes should be insulated. Special plumbing fixtures other than the ones mentioned above should be chosen based on their water and energy efficiency and functionality. Signage requesting that leaks and other plumbing problems be promptly reported should be placed in each restroom, shower facilities, pool, and other high water use areas.

Table 5.3 Energy and Atmosphere

| Credit number | Area of rating | Available credits | Credit gotten |
| --- | --- | --- | --- |
| 1 | Optimize Energy Performance | 1-10 | 4 |
| 2 | On-site and Off-site Renewable Energy | 1-4 | 1 |
| 3.1 | Building Operations and Maintenance: Staff Education | 1 | 1 |
| 3.2 | Building Operations and Maintenance: Building Systems Maintenance | 1 | 1 |
| 3.3 | Building Operations and Maintenance: Building Systems Monitoring | 1 | 1 |
| 4 | Additional Ozone Protection | 1 | 1 |
| 5.1-5.3 | Performance Measurement: Enhanced Metering | 3 | 2 |
| 5.4 | Performance Measurement: Emission Reduction Reporting | 1 | 1 |
| 6 | Documenting Sustainable Building Cost Impacts | 1 | 1 |

Analysis

- Credit 1 Optimize Energy Performance ; four points gotten out of a maximum ten available due to the fact that some records of the optimized energy used is not available thus it was analyzed in ratio to the amount of energy used in peak and off peak periods thus scoring the given points.

- Credit 2 On-site and Off-site Renewable Energy; one point achieved out of four due to the fact that there is little or no renewable energy on or off site in the building area.

- Credit 3.1 Building Operations and Maintenance: Staff Education; achieved the point in this category due to the ever present staff education on energy policies which exist in the library.

- Credit 3.2 Building Operations and Maintenance: Building Systems Maintenance; achieved the point required here because the building achieves the operation performance required and it is properly maintained.

- Credit 3.3 Building Operations and Maintenance: Building Systems Monitoring; achieved the necessary point here as it has monitoring devices that monitor the performances of the operations in the building.

- Credit 4 Additional Ozone Protection; points achieved in this category.

- Credit 5.1- 5.3 Performance Measurement: Enhanced Metering; two points achieved out of three in this category as the library has enhanced metering on about eight out of thirteen points needed to get full points.

- Credit 5.4 Performance Measurement: Emission Reduction Reporting; one point achieved in this category.

- Credit 6 Documenting Sustainable Building Cost Impacts; point achieved in this category.

5.6.3 Energy and atmosphere (13 out of 23 points).

Performed reasonably well with 10 credits lost; points lost because the amount of renewable energy generated by the building could be improved. The very root of what makes a building green is how effectively it responds to its surrounding environment.  The library uses mechanical means for the heating and cooling of the structure. The windows serve as a form for light and not for ventilation as they are not being used to aid and reduce the use of mechanical apparatus. Situating the building originally in a way that makes maximum use of sun-paths and wind patterns is called passive design, because it allows your building to function without active mechanical heating and cooling. Passive Design is the best and most-obvious way to start a green building, because it improves ventilation, it’s more comfortable than living with constant heating and air-conditioning, it significantly reduces electricity bills, and it reduces greenhouse gas emissions from heating, cooling, mechanical ventilation and lighting. Also all ducts and openings for the mechanical apparatus should all be tightly sealed.

Table 5.4 Materials and resources.

| Credit number | Area of rating | Available credits | Credit gotten |
| --- | --- | --- | --- |
| 1 | Construction, Demolition and Renovation Waste Management | 2 | 2 |
| 2 | Optimize Use of Alternative Materials | 5 | 3 |
| 3 | Optimize Use of IAQ Compliant Products | 2 | 2 |
| 4 | Sustainable Cleaning Products and Materials | 3 | 2 |
| 5 | Occupant Recycling | 3 | 1 |
| 6 | Additional Toxic Material Source Reduction: Reduced Mercury in Light Bulbs | 1 | 1 |

Analysis

- Credit 1 Construction, Demolition and Renovation Waste Management; two points achieved here during the construction period of the library building.

- Credit 2 Optimize Use of Alternative Materials; three out of five points achieved among the use of alternative materials listed on the LEED manual. The category assigns points based on use of sustainable materials.

- Credit 3 Optimize Use of IAQ Compliant Products; maximum points achieved due to the reduction of the impacts of materials required in the operation, maintenance and upgrade of the library.

- Credit 4 Sustainable Cleaning Products and Materials; two points achieved out of the maximum three available. The category requires the use and implementation of sustainable cleaning materials and products, disposable janitorial paper products and trash bags.

- Credit 5 Occupant Recycling; one point got out of the three due to lack of occupant recycling techniques and procedures.

- Credit 6 Additional Toxic Material Source Reduction: Reduced Mercury in Light Bulbs; maximum point gotten due to the number of mercury bulbs in the building. The mercury bulbs are not used a lot in the library.

5.6.4 Materials and Resources (11 out of 16 points)

Five points lost because estimates of post consumer recycled content not available, so scored according to personal view.

Table 5.5 Indoor Environmental Quality

| Credit number | Area of rating | Available credits | Credit gotten |
| --- | --- | --- | --- |
| 1 | Outside Air Delivery Monitoring | 1 | 1 |
| 2 | Increased Ventilation | 1 | 1 |
| 3 | Construction IAQ Management Plan | 1 | 1 |
| 4.1 | Documenting Productivity Impacts: Absenteeism and Healthcare Cost Impacts | 1 | - |
| 4.2 | Documenting Productivity Impacts: Other Impacts | 1 | - |
| 5.1 | Indoor Chemical and Pollutant Source Control: Non-Cleaning – Reduce Particulates in Air Distribution | 1 | 1 |
| 5.2 | Chemical and Pollutant Source Control: Non-Cleaning –High Volume Copying/Print Rooms/Fax Stations | 1 | 1 |
| 6.1 | Controllability of Systems: Lighting | 1 | 1 |
| 6.2 | Controllability of Systems: Temperature & Ventilation | 1 | 1 |
| 7.1 | Thermal Comfort: Compliance | 1 | 1 |
| 7.2 | Thermal Comfort: Permanent Monitoring System | 1 | 1 |
| 8.1 | Day lighting and Views: Day lighting for 50% of Spaces | 1 | 1 |
| 8.2 | Day lighting and Views: Day lighting for 75% of Spaces | 1 | 1 |
| 8.3 | Day lighting and Views: Views for 45% of Spaces | 1 | 1 |
| 8.4 | Day lighting and Views: Views for 90% of Spaces | 1 | 1 |
| 9 | Contemporary IAQ Practice | 1 | 1 |
| 10.1 | Green Cleaning: Entryway systems | 1 | 1 |
| 10.2 | Green Cleaning: Isolation of Janitorial Closets | 1 | 1 |
| 10.3 | Green Cleaning: Low Environmental Impact Cleaning Policy | 1 | 1 |
| 10.4-5 | Green Cleaning: Low Environmental Impact Pest Management Policy | 2 | 2 |
| 10.6 | Green Cleaning: Low Environmental Impact Cleaning Equipment Policy | 1 | 1 |

Analysis

- Credit 1 Outside Air Delivery Monitoring; intent achieved with appliances in place.

- Credit 2 Increased Ventilation; intent achieved with outdoor air ventilation provided to aid in the increment of ventilation.

- Credit 3 Construction IAQ Management Plan; the intent here is achieved as the point is achieved as the IAQ is maintained despite any renovation, maintenance or cleaning work being done.

- Credit 4.1 Documenting Productivity Impacts: Absenteeism and Healthcare Cost Impacts; no point gotten here because the documentation of the absenteeism and healthcare cost impacts are not available.

- Credit 4.2 Documenting Productivity Impacts: Other Impacts; same as the credit above, lack of documentation on the issues to be determined.

- Credit 5.1 Indoor Chemical and Pollutant Source Control: Non-Cleaning System – Reduce Particulates in Air Distribution. Point scored here as the building users are not exposed to harmful chemicals and pollutants.

- Credit 5.2  Indoor Chemical and Pollutant Source Control: Non-Cleaning – Isolation of High-Volume Copying/Print Rooms/Fax Stations; point achieved here too as like the credit above as the users of the library are not exposed to potentially hazardous chemical, biological and particle contaminants, which adversely impact air quality, health, building finishes, building systems and the environment.

- Credit 6.1 Controllability of Systems: Lighting; point achieved as the library users have controllability over some of the lighting devices in spaces.

- Credit 6.2 Controllability of Systems: Temperature & Ventilation; just the credit above, it achieves the point.

- Credit 7.1 Thermal Comfort: Compliance; points achieved here as the building provides a comfortable thermal environment that supports the productivity and well-being of building occupants.

- Credit 7.2 Thermal Comfort: Permanent Monitoring System; the point was achieved as the building provide a comfortable thermal environment that supports the productivity and well-being of building occupants.

- Credit 8.1 Daylight and Views: Day lighting for 50% of Spaces; point achieved here as 50% of spaces have access to day light and views.

- Credit 8.2 Day lighting and Views: Day lighting for 75% of Spaces; same as above as the spaces (75%) have access to daylight and views.

- Credit 8.3 Day lighting and Views: Views for 45% of Spaces; points achieved here.

- Credit 8.4 Day lighting and Views: Views for 90% of Spaces points achieved here too.

- Credit 9 Contemporary IAQ Practice; points achieved as the library maintains good indoor IAQ by preventing odors and taking care of it fast when it occurs.

- Credit 10.1 Green Cleaning: Entryway systems; points achieved as the users of the library are not exposed to any potentially hazardous chemical, biological and particle contaminants, which adversely impact air quality, health, building finishes, building systems, and the environment.

- Credit 10.2 Green Cleaning: Isolation of Janitorial Closets; points achieved as the janitorial closets are isolated.

- Credit 10.3 Green Cleaning: Low Environmental Impact Cleaning Policy; points achieved here as the cleaning materials here are low impact, use of hand soaps that do not contain antimicrobial agents and the use of chemical concentrates and appropriate dilution systems.

- Credit 10.4-5 Green Cleaning: Low Environmental Impact Pest Management Policy; points achieved here as there are no pests in the building.

- Credit 10.6 Green Cleaning: Low Environmental Impact Cleaning Equipment Policy; point is achieved here as the library uses equipment that clean with minimum or no adverse effects. Like the use of deep cleaning rug equipments that ensure it is dry in less than 24 hrs.

5.6.5 Indoor Environmental Air Quality

All credits were achieved in this category; it seems indoor air quality was a priority from the outset. Building geometry and internal fixtures were major players in the category and the library excels a lot in the categories. Healthy environment; air and daylight, 90% of spaces have access to day lighting and views, non-smoking building, sealed ductwork during construction, maximized controllability of system; zones and switches, permanent monitoring system/HVAC and ventilation, no and low emitting VOC paints, adhesives, finishes and carpeting, indoor garden, Air quality testing determined acceptable levels of indoor air quality.

Table 5.6 Innovation in Operation, Upgrades and Maintenance

| Credit number | Area of rating | Available credits | Credit gotten |
| --- | --- | --- | --- |
| 1.1 | Innovation in Operation & Upgrades | 1 | 1 |
| 1.2 | Innovation in Operation & Upgrades | 1 | 1 |
| 1.3 | Innovation in Operation & Upgrades | 1 | 1 |
| 1.4 | Innovation in Operation & Upgrades | 1 | 1 |
| 2 | LEED Accredited Professional | 1 | - |

Analysis

- Credit 1.1- 1.4 Innovation in Operation & Upgrades; points are achieved here by the operations of the library and the nature of the upgrades they do. The library has a high standard of operations and upgrades thus the points awarded.

5.6.6 Innovation and the design process (4 out of 5 points)

This category encourages discretionary credits; conservative estimate made. Examples of points scored: Greatly exceeding water use minimization requirements. Public education plan when building is in operation and use.

5.7 NEU Library building Performance upon LEED Criteria

Of a possible 85 points the library has a total of 60 points which is an award of a gold certification of the LEED rating system.

It is important to repeat here that this analysis and award of points is done as a result of personal opinions firstly depending researches and findings on the topic, secondly by nature of the assessment system. The points are allocated as a result of direct investigation of the site, building and building drawings, not having a control over the building designs in advance.

Table 5.7 Points scored and performance of NEU Library bldg. on main LEED criteria

Items			 	Points scored	out of	%     Performance of the bldg on each main criteria

- Sustainable sites		             6		14			            43%

- Water efficiency		             4		05				80%

- Energy and atmosphere		13		23				57%

- Materials and resources		11		16				69%

- Indoor environ. Quality    	22		22				100%

- Innovation			 4		05				80%

Total:	            60		85		60/85x100 =71 %

Overall Performance of the Bldg

5.8 Summary of findings and conclusions

Based on the above analysis, it is easy to say that indoor air quality was a major designing issue as it covers and achieves a higher percentage of points and also scored a perfect score from available points during the building analysis, and it stands out as well as water efficiency analysis. Thus basically putting them as the major aspect of the design of the NEU library. The two categories had the most units and sub units for analysis. Though the water efficiency category occupies 7% of the total points achieved for the rating system, it was still a very good score as the library basically met all sustainable water projections. These facts can be further analyzed by calculating the importance factor which is on the fourth column of the tables in the chapter four, what this shows is that indoor environmental quality, energy and atmosphere, and materials and resources were the important factors considered during design and construction stages as they are a minimum of two times more important with the indoor environmental energy wise quality five times more important. Basically this entails that material, air quality and, the design was analyzed in the order of priorities given to the mentioned categories before settling on the present situation.

Despite the Near East University library acquiring a good level of “greenness” due to my studies and findings, much more could be done to increase the sustainability of the building and in places where the building has a low sustainable score, improvements could be encouraged. The major areas where the library lost points were in the sustainable site area as well as the energy and atmosphere section. The sustainability of the site could be improved by the building of trees to help in the reduction of greenhouse gases that will be present due to the neighboring parking spaces. The interior of the building could have some little greens in some specific areas. Also the front of the buildings could be redesigned in a bid to embrace the structure with more natural elements as the library looks like a rose in concrete field  The toxins can be from the carpeting material, thus the carpeting material used should be one of low Volatile Organic Compound (VOC) content. Also the renewable energy factor of the library is important as the library does not utilize renewable energy. This aspect has to investigated and improved upon. In the aspect of materials and resources, majority of the ones used are of good standards, but it will be good to get and utilize more sustainable materials and in the case of recycling more awareness should be done about it as it is a way of improving on the greenness of the building. The indoor air quality is very good and thus must continue to be kept so. There is little or no room for improvement there, though the library should continue to move with present discoveries that could aid the library more.

6 CONCLUSIONS

6.1 Conclusions

The art of building inevitably consumes resources, but in the act of construction or development we have to understand that our actions as part of a larger system; one has to work with the earth and its problems rather than working in spite of it [91]. Many people, myself included, believe that it is preferable to try to get the majority of people interested in some part of sustainable building (for now) than to succeed in getting only a handful to go all the way. People become interested in sustainable building for different reasons. The field can attract people who care about public health, occupational health, labor productivity, open space preservation, climate stabilization, biodiversity, or renewable energy, to name only a few of the issues it touches. The diversity of the movement could be its greatest strength. Perhaps, as different people with different agendas come to realize their stake in the use of sustainable practices, they will gradually realize what they have in common and how their goals are inextricably linked. I hope that occupant health and well-being, public health, land impact, and land use considerations will soon achieve the level of attention that energy efficiency has enjoyed in recent years.

We all have a stake in the sustainability of our built environments. When a critical mass of people in our society recognize this and mainstream building professionals feel the pressure of public demand, sustainable practices will become the industry standard.

6.2 Recommendations

While currently there is a trend toward increasing attention paid to both occupant and general environmental health effects of buildings, it is clear that efforts to improve building environmental performance remain the practice of only a small fraction of designers and constructors. Furthermore, there is much still to be learned in order to achieve the goals of creating buildings that are healthy for their occupants and sustainable in terms of their general environmental impacts [92].

Green building rating systems are transforming the construction industry by focusing on high-performance, energy efficient, economical and environment friendly buildings. All green building rating systems are voluntary in nature, and in many cases, used as design checklists. Though energy efficiency is a major component of designing a green building, several other basic sustainability requirements need to be met before claiming the additional credits for energy efficiency.

Multiple rating tools are available and in use through-out the commercial and institutional building sector. These tools may contribute to a range of benefits to building owners and tenants, including cost savings and reduced environmental impact. As the drivers for utilizing rating tools vary among a range of actors, there is a rationale for the support of multiple tools, while there is a range of tools available; experience with their application is limited. Currently, the BOMA Go Green product has the most significant market penetration with over 60 buildings rated and a target of 100 buildings by the end of 2006. Conversely, there have been no buildings rated using LEED EB. Evaluating and showcasing the impact of the rating tools in terms of cost savings and enhanced environmental performance will be key to creating market demand for these tools.

The development of multiple stand alone building rating tools is symptomatic of an immature market. As the market matures over the next three to five years, it can be expected that harmonization of tools will occur, resulting in a more streamlined process.  While rating tools are an important component of a management system for buildings, they will benefit with greater integration to other management systems currently in place, such as the financial, environmental and human resources management systems, and additional analysis of this issue is recommended.

The explosion of building automated control systems is having a profound impact on how buildings and facilities are being operated and managed. There is growing interest and awareness in the opportunities to integrate “smart” and green technologies as the “next big thing”. Better understanding of the opportunities and challenges may have a much greater impact than focusing efforts only on rating tools.

Alternative building technologies discussed in the research are energy efficient and the embodied energy of buildings using these technologies is less than half of the energy consumed by conventional buildings. It becomes inevitable to steadily switch over to the use of energy efficient building materials and technologies and devise methods and mechanisms to utilize industrial/mine wastes and recycling and reuse of building wastes for the manufacture of building materials and products for the sustainable construction practices [93].

As earlier stated, sustainable building practices involve the use of design and construction methods and materials that are resource efficient and that will not compromise the health of the environment or the associated health and well being of the building’s occupants, construction workers, the general public, or future generations. To make such practices mainstream essentially means fighting the inertia of the status quo with a new paradigm of design. Lowering the major barriers of client disinterest, lack of education and training for building professionals, and cost concerns about sustainable building will take some time. Though the movement has come a long way in the last decade, major shifts in cultural attitudes happen very gradually. Sustainable business guru John Elkington suggests that “it usually takes more than a generation for the ideas of revolutionary movements to take hold and really transform society”; so, using the 1987 Brundtland Report as a baseline date, he speculates that the grand paradigm shift implied by the sustainability movement may not be achieved before the year 2020 [94]. The following processes should be put into consideration when we talk about sustainability:

- demolish and rebuild only when it is not economical or practicable to reuse, adapt or extend an existing structure;

- reduce the need for transport during demolition, refurbishment and construction and tightly control all processes to reduce noise, dust, vibration, pollution and waste;

- make the most of the site, e.g. By studying its history and purpose, local micro-climates and the prevailing winds and weather patterns, solar orientation, provision of public transport and the form of surrounding buildings;

- design the building to minimize the cost of ownership and its impact on the environment over its life span by making it easily maintainable and by incorporating techniques and technologies for conserving energy and water and reducing emissions to land, water and air;

- wherever feasible, use the construction techniques which are indigenous to the area, learning from local traditions in materials and design;

- put the function of the building and the comfort of its occupants well before any statement it is intended to make about the owner or its designer. That is, make it secure, flexible and adaptable (to meet future requirements) and able to facilitate and promote communications between staff;

- build to the appropriate quality and to last. Longevity depends much on form, finishes and the method of assembly employed as on the material used.

- avoid using materials from non renewable sources or which cannot be reused or recycled, especially in structures which have a short life.

I feel with the above mentioned points, we will have achieved a lot if we can abide by them and thus make our lives, condition and the world safer for all to live in, now and for future purposes.

According to my findings, educating all segments of society about the need for sustainable building and, secondarily, training building professionals in sustainable building concepts and methods, are the most essential ways of encouraging the more widespread adoption of sustainable building practices.

Such education could create a greater demand for sustainable building products and services, which would boost these markets, thereby spurring more innovation and bringing prices down. Clearly, educational and economic approaches go hand in hand. Economic incentives will also be necessary, to boost the interest of those people who will not be compelled by the environmental reasoning behind sustainable building, and also to even the playing field for those who are compelled. Sustainable building programs should also more strategically address the key barriers to their goal.

It is important to keep in mind that any added costs for sustainable projects are primarily a concern for clients (rather than building professionals), since clients ultimately pay for the project. Therefore, as with educational programs, economic incentives must be aimed directly at potential clients: the general public. In addition to providing incentives and outright funding to lower project costs, the government should help counter commonly held misperceptions or exaggerations of the increased cost of sustainable practices, and should help institutionalize new accounting procedures that properly measure all building costs and longer-term returns on investment.

Government programs and policies that could address these needs include the following:

- Review and recommend the best methods of lifecycle (or full-cost) financial analysis for building projects.

- Conduct long-term, lifecycle analysis of the costs and benefits of demonstration projects, and publicize the benefits of this approach with case studies in professional and trade literature (as well as the public media).

- Publicize the long-term cost savings of building/property owners who incorporated sustainable practices into their projects, particularly those who have done so at a large scale (e.g., federal government, institutions, large corporations, eco-tourism industry).

- Write and adopt legislation for sustainable building tax credits or exemptions.

- Raise the rates on utility resources that the local or state government still controls (e.g., water), to provide an economic incentive to conserve.

- Work with newly deregulated utilities to determine whether demand management programs’ incentives can be continued; continue to explore a “secondary market mechanism” as a substitute.

- Offer rebates for the use of new technologies.

- Remove subsidies for environmentally-damaging industries.

- Tax environmentally-harmful products (like fossil fuels) so that the price of such unsustainable options will fully reflect their social and environmental costs.

- Provide low-interest loans or loan guarantees for sustainable building projects or installations.

References:

1. Levin H. Proceedings of Healthy Buildings, Santa Cruz, 1995.

2 Levin H.  Design and construction of healthy and sustainable buildings, 1996 pp. 2

3 World Commission on Environment and Development. Our Common Future. New York: Oxford University Press, 1987, pp. 4.

4 Grumman D L. ASHRAE Green Guide. American Society of Heating, Refrigerating and Air Conditioning Engineers, Inc. USA. 2003.

5. Bread for the World, Background Paper No. 129, Washington, DC, 1993.

6. International Union for the Conservation of Nature and Natural Resources, World Conservation Union, United Nation Environment Programme, and World Wide Fund for Nature. Caring for the Earth.  IUCN/UNEP/WWF, Gland, Switzerland, 1991. pp. 10

7. World Resources Institute. Dimensions of sustainable development: A Guide to the Global Environment. New York: Oxford University Press, 1992. pp. 2

8. Goodland R, Ledec G. Neoclassical economics and principles of sustainable development. Ecological Modeling  1987, pp 38

9 Repetto R.  World Enough and Time. New Haven, CT: Yale University Press, 1986. pp. 15-16.

10 Eisgruber L M. Sustainable development, ethics, and the Endangered Species Act, Choices, Third Quarter 1993, pp. 4-8.

11. Steele J. Sustainable Architecture: Principles, Paradigms, and Case Studies. New York: McGraw-Hill, 1997.

12. http://www.oecd.org/env/efficiency/susbuild.htm

13 Bobenhausen W, Director of Sustainable Design, Steven Winter Associates, Inc., Norwalk, CT. Presentation at an Urban Land Institute workshop on “Sustainable Design in Commercial Development” at AEW Capital Management, Boston, MA, November 10, 1998.

14 Kevin L, Gary H.  Site Planning Cambridge: MIT Press, 1984.

15. Spirn A W, The Granite Garden: Urban Nature and Human Design Basic Books, 1984, p.246.

16 Leon W, “Better Homes and Planet,” Nucleus, The Magazine of the Union of Concerned Scientists, spring 1999.

17 Andrew St. John, “comments”. Architect, Fidelity Corporate Real Estate, Boston, MA, December 29, 1998.

18. http://www.inhabitat.com/2006/08/09/green-building-101-energy-atmosphere-part-1/

19 “Small is Beautiful,” Environmental Building News 8, no. 1 (January 1999),

20. Brower M, Leon W, The Consumer’s Guide to Effective Environmental Choices. Practical Advice from the Union of Concerned Scientists. New York: Three Rivers Press, 1999, p. 101.

21. Browning W, Cureton M, Lovins H, McManigal L, Uncapher J, Wilson L A., Green Development: Integrating Ecology and Real Estate. Rocky Mountain Institute New York: John Wiley & Sons, Inc., 1998.

22 Roodman D M, Lenssen N, “A Building Revolution: How Ecology and Health Concerns are Transforming Construction,” World watch Paper #124 (Washington, D.C.: World watch Institute, March 1995.

23. Hiss T, the Experience of Place New York. Alfred Knopf, 1990, pp 12-13

24 Browning W, et al., Green Development.

25 Hiss, the Experience of Place, pp 13.

26. Koenenn C, “Pollution Fighters: Those houseplants that grace your living room work nonstop to clean the air you breathe.” The Ann Arbor News, July 7, 1991.

27 “Indoor Pollutants: Household Hazards,” Environmental Issues Bulletin 1, no. 3, produced by the National Safety Council’s Environmental Health Center, for the Radio and Television News Directors Foundation. 1998.

28 Loftness V, Dean, Department of Architecture, Carnegie Mellon University, Pittsburgh, PA. Presentation at the Dimensions of Sustainability International Design Symposium, hosted by the MIT Department of Architecture, Cambridge, MA, November 15-16, 1996.

29 Hiss T, the Experience of Place, pp 10.

30 Romm J and Browning W, “Greening the Building and the Bottom Line: Increasing Productivity through Energy Efficiency,” Rocky Mountain Institute paper, Snowmass, CO: Rocky Mountain Institute, 1993.

31 Browning W, et al., Green Development.

32 Fisk P, Founder of the Center for Maximum Potential Building Systems. Presentation at the Harvard Graduate School of Design, April 5, 1999

33 Aitken D, “Putting It Together: Whole Buildings and Whole Buildings Policy,” Renewable Energy Policy Project (REPP) Research Report, no. 5 (September 1998);

34 Roodman and Lenssen, “A Building Revolution.”

35 Roodman and Lenssen, “A Building Revolution.”

36 Green Builder Program, City of Austin, Sustainable Building Guidelines, Volume I. Prepared by the Department of Public Works and Transportation and Environmental and Conservation Services Department, December 2, 1994.

37Center for Economic Conversion (CEC) Technical Brief #2: “Sustainable Buildings: Designing for Environmental and Economic Efficiency,” August 1997

38 Browning W, et al., Green Development.

39 McDonough W  Braungart M, “The Next Industrial Revolution,” The Atlantic Monthly, October 1998, 82-92.

40 Potting J, Blok K, “The Environmental Life Cycle Analysis of Some Floor Coverings,” Department of Science, Technology, and Society, Utrecht University

41. Nobile P, R III, comments. Architect, Shepley Bulfinch Richardson and Abbott, Boston, MA.

42 Fisher T, A., AIA, Sustainable Buildings, Low Energy Housing.  November, 1992

43 Hittinger J, Survey on “Implementing Environmentally Sustainable Design,” Architectural Practice Research Project, the Catholic University of America, Washington, D.C., Winter 1999. April 15, 1999. <http://www.acad.cua.edu/aprp/olce/green/main-page.htm> (April 15, 1999).

44 Willard, N  Climate Change Specialist, U.S. Environmental Protection Agency—New England. Presentation at the Commonwealth of Massachusetts’ 4th Annual Buy Recycled and Environmentally Preferable Product Vendor Fair and Conference, Boxborough, MA, October 30, 1998.

45 Gottfried, D “The Economics of Green Buildings,” Sustainable Building Technical Manual: Green Building Design, Construction and Operation. Annapolis Junction, MD: Public Technology, Inc., 1996.

46 Browning W, et al., Green Development.

47 Aitken, “Putting it Together”

48 Current science, vol. 87, no. 7, 10 October 2004 pp 900

49 Current science, vol. 87, no. 7, 10 October 2004 pp 901

50 Current science, vol. 87, no. 7, 10 October 2004 pp 903

51 Current science, vol. 87, no. 7, 10 October 2004 pp 904

52 Current science, vol. 87, no. 7, 10 October 2004 pp 903

53 Venkatarama R B V,  Jagadish K S. Embodied energy of common and alternative building technologies. Energy Build, 2002, 35, pp 129.

54 Venkatarama R B V, Jagadish K S. Embodied energy of common and alternative building technologies. Energy Build, 2002, 35, pp 132.

55 Venkatarama R B V,  Jagadish K S. Embodied energy of common and alternative building technologies. Energy Build, 2002, 35, pp 132-137.

56 Snell C,  Callahan T. Building green: a complete guide to alternative building materials. Lark Books. 2006.

57 Snell, C,  Callahan T Building green: a complete guide to alternative building materials. Lark Books. 2006.

58 www.bomagogreen.com

59 Williams J.   Green Building Designations: LEED versus BOMA Go Green.  Blake’s online magazine, 2008.

60 www.ibec.or.jp/CASBEE/english/overviewE.htm

61 Japan Sustainable Building Consortium (JSBC) 2006

62 www.teriin.org

63 Ministry of New & Renewable Energy Government of India/ www.indiaenvironmentportal.org.in/

64 www.gbca.org.au

65 www.melbourne.vic.gov.au

66 www.Sbtool.org

67 www.hk-beam.org

68 www.breeam.org

69 Skorpik J. BREEAM, a building environmental assessment method. Canadian Eco-Architecture. 1997.

70 www.bre.co.uk

71 LEED reference guide, Version 2.0.”. U.S. Green Building Council, Washington, D.C. 2001

72 www.usgbc.org

73Grumman D L. ASHRAE Green Guide. American Society of Heating, Refrigerating and Air Conditioning Engineers, Inc. USA. (2003).

74 www.usgbc.org

75 Bowen T S Grist Magazine. 2009

76 Kaufmann J. comments co-owner of the green-building Pragmatic Construction in Milwaukee,

77 same as above

78 www.bsria.co.uk/news/breeam-or-leed

79 the Herman Miller HQ in Cheltenham

80 Van de Kamp Bakery, at Los Angeles City College

81 www.bsria.co.uk/news/breeam-or-leed

82 www.eski.neu.edu.tr

83 Nazife O. A comparative study of climatically responsive house design at various periods of Northern Cyprus architecture. Istanbul: YEM Publications 2005

84 turkishcyprus.com

85 home.clara.net

86 turkishcyprus.com

87 turkishcyprus.com

88 turkishcyprus.com

89 Oktay D. Design with the climate in housing environments: an analysis in Northern Cyprus. Istanbul: YEM Publications, 2001. pp 4

90 Mimarca. architectural magazine publication 74, 2009

91 Scott A.  A time for change and innovation, dimensions of sustainability. London: E & FN Spon, 1998.

92 Levin H. "Building ecology," Progressive Architecture. 1981. pp 173-175

93 Venkatarama R, B. V.  Sustainable building technologies. Department of Civil Engineering & Centre for Sustainable Technologies.

94 Elkington J. Cannibals with Forks: The triple bottom line of 21st century business. Stony Creek, CT: New Society Publishers, 1998, pps385.

# Footnotes

Bobenhausen, presentation comments.